## Submission Documents
10/2011 |  |  |  | page 1 of 2 | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
Project submission documents; listed in order required
Please submit paperwork for each project in a submission in the following order. Submission forms should be collated, by project, and each project's paperwork paperclipped together. Staple all multi-page forms, do not paperclip multi-page forms.
1) | FP-CL Checklist for Application for Building Permit
2) | FP-F Application for Examination and Approval of Final Plans and Specifications
| - | Attach one (1) copy of proposition to the voters -OR- board resolution
| - | Attach one (1) copy of Clerk certification of vote tally
3) | FP-EEB Evaluation of Existing Building
| - | Only required for instructional buildings
4) | FP-SC Scope of Proposed Project
| - | Include a copy of the Board of Education formal resolution declaring that the SEQRA process has been completed.
| - | If Type II, attach one (1) copy of the Board of Education resolution noting the SEQRA determination. If a Negative Declaration or Statement of Findings was issued by the district, attach (1) copy.
5) | State Historic Preservation Office (SHPO) Notification
| - | If the project is subject to Federal review in accordance with Section 106 of the National Historic Preservation Law, involves ground disturbance, or involves the creation of new space, the State Historic Preservation Office (SHPO) must be notified. Use the SHPO Project Review Cover Form with necessary attachments for submittal to SHPO.
| - | If the project is exempt from SHPO review per Letter of Resolution - attach one copy of Form FP-OPRHP-LOA
6) | FP-SGIS State Smart Growth Public Infrastructure Impact Statement
7) | Highway letter
| - | Include one copy of a letter notifying the local highway authority of the anticipated affect that this work will have on (1) permanent entrances and exits; (2) the need for temporary entrances or exits; and, (3) the storm drainage system. There may be more than one local highway authority who needs to receive this letter. If so, include one copy of each highway notification letter sent by the district or BOCES.
8) | Asbestos letter
| - | Asbestos certifications for all projects – A letter stating that: (a) “No new asbestos-containing building materials will be used in the construction;” and (b) “The work will not involve known or suspected asbestos-containing building materials as evidenced by bulk or destruct testing;” -OR- (c) “The work of this project will involve known or suspected asbestos-containing building materials and will be done in accordance with Industrial Code Rule 56.”
| - | NOTE: If the work of the project involves asbestos-containing building materials (ACBM), then include a copy of the Asbestos Designer’s current license, showing the picture of the individual and the expiration date of the license; and have the Asbestos Designer sign, seal, and certify the cover of the specification book.
|  |  |  | page 2 of 2 | page 2 of 2
9) | Flood Plain Letter
| - | Only required for new buildings, additions and the associated site work for them.
| - | If floodplains are not located on the district property: Submit on an 8 ½ “ x 11” paper the nearest floodplain at an appropriate scale. Show the district property on the floodplain plan. A certification by the architect or engineer must accompany the plan stating there is no floodplain on the district property.
| - | If floodplains are located on the district property: Submit an overlay of the floodplain information on the survey or site plan. Include contours, elevations, projected 100-year flood elevations, and flooding boundaries. The plan must be accompanied by a copy of the appropriate correspondence to the local authority for a floodplain permit.
10) | FP-CCC Code Compliance Checklist
11) | FP-SSI Statement of Special Inspections
12) | FP-AP Application for Apportionment of Building Aid
13) | Executive Summary of 5-Year Capital Facilities Plan

## 155.5 Contract Doc Checklist
10/2011 |  | Page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
Uniform Safety Standards for School Construction and Maintenance Projects
1. Statement:
“The occupied portion of any school building shall always comply with the minimum requirements necessary to maintain a certificate of occupancy.”
2. Indication that all school areas to be disturbed during renovation or demolition have been or will be tested for lead and asbestos. Note, the project folder should contain a letter regarding the presence of asbestos.
3. Statement:
“General safety and security standards for construction projects.
(1) All construction materials shall be stored in a safe and secure manner.
(2) Fences around construction supplies or debris shall be maintained.
(3) Gates shall always be locked unless a worker is in attendance to prevent unauthorized entry.
(4) During exterior renovation work, overhead protection shall be provided for any sidewalks or areas immediately beneath the work site or such areas shall be fenced off and provided with warning signs to prevent entry.
(5) Workers shall be required to wear photo-identification badges at all times for identification and security purposes while working at occupied sites.”
4. Statement:
“Separation of construction areas from occupied spaces. Construction areas which are under the control of a contractor and therefore not occupied by district staff or students shall be separated from occupied areas. Provisions shall be made to prevent the passage of dust and contaminants into occupied parts of the building. Periodic inspection and repairs of the containment barriers must be made to prevent exposure to dust or contaminants. Gypsum board must be used to exit ways or other areas that require fire rated separation. Heavy duty plastic sheeting may be used only for a vapor, fine dust or air infiltration barrier, and shall not be used to separate occupied spaces from construction areas.
(1) A specific stairwell and/or elevator should be assigned for construction worker use during work hours. In general, workers may not use corridors, stairs or elevators designated for students or school staff.
(2) Large amounts of debris must be removed by using enclosed chutes or a similar sealed system. There shall be no movement of debris through halls of occupied spaces of the building. No material shall be dropped or thrown outside the walls of the building.
(3) All occupied parts of the building affected by renovation activity shall be cleaned at the close of each workday. School buildings occupied during a construction project shall maintain required health, safety and educational capabilities at all times that classes are in session.”
Page 2 of 2
5. A plan detailing how exiting required by the applicable building code will be maintained.
6. A plan detailing how adequate ventilation will be maintained during construction.
7. Statement:
“Construction and maintenance operations shall not produce noise in excess of 60 dba in occupied spaces or shall be scheduled for times when the building or affected building spaces are not occupied or acoustical abatement measures shall be taken.”
8. Statement:
“The contractor shall be responsible for the control of chemical fumes, gases, and other contaminates produced by welding, gasoline or diesel engines, roofing, paving, painting, etc. to ensure they do not enter occupied portions of the building or air intakes.”
9. Statement:
“The contractor shall be responsible to ensure that activities and materials which result in “off-gassing” of volatile organic compounds such as glues, paints, furniture, carpeting, wall covering, drapery, etc. are scheduled, cured or ventilated in accordance with manufacturers recommendations before a space can be occupied.”
10. Statement:
“Large and small asbestos abatement projects as defined by 12NYCRR56 shall not be performed while the the building is occupied.” Note, It is our interpretation that the term “building”, as referenced in this section, means a wing or major section of a building that can be completely isolated from the rest of the building with sealed non combustible construction. The isolated portion of the building must contain exists that do not pass through the occupied portion and ventilation systems must be physically separated and sealed at the isolation barrier.
Exterior work such as roofing, flashing, siding, or soffit work may be performed on occupied buildings provided proper variances are in place as required, and complete isolation of ventilation systems and at windows is provided. Care must be taken to schedule work so that classes are not disrupted by noise or visual distraction.
11. Surfaces that will be disturbed by reconstruction must have a determination made as to the presence of lead. Projects which disturb surfaces that contain lead shall have in the specifications a plan prepared by a certified Lead Risk Assessor of Supervisor which details provisions for occupant protection, worksite preparation, work methods, cleaning and clearance testing which are in general accordance with the HUD Guidelines.

## FP-CL Checklist
FP-CL 05/2012 | [26 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
CHECKLIST for
APPLICATION FOR BUILDING PERMIT and
EXAMINATION AND APPROVAL OF FINAL PLANS AND SPECIFICATIONS
Execute and submit one copy of the form to this office with each submission of plans and specifications.
| NOTE: | BUILDING PERMITS WILL NOT BE ISSUED UNTIL AFTER THE SUBMISSION IS COMPLETE IN ALL RESPECTS.
Specific instructions pertaining to each exhibit are included in the Instruction Guide for Obtaining a Building Permit and Approval of Plans and Specifications by the Commissioner of Education, which is available on our website at
www.emsc.nysed.gov/facplan/
| Name of District: |  |  |  |  | SED Project Control # | [12 empty] | Project #
[8 empty] | 6 | 6 | 6 | 6 |  | 6 | 6 | 6 | 6 | - | 6 |  | 6 | 6 | 6 | - | 6 | 6 | 6
| Building Name: |  |  |  |  | SED Project Manager: | [12 empty] | Date Submitted:
Building Address:
| Type of Project: |  |  | New | Addition |  | Alteration | [9 empty] | Includes Site Purchase
| Scope of Work: (CSI No.): | [17 empty] | Estimated Cost:
| School Official Contact: |  |  |  | e-mail address: | [13 empty] | Telephone No.
| Architect or Engineer Contact: |  |  |  | e-mail address: | [13 empty] | Telephone No.
Indicate by checks in the boxes below which exhibits are included in this submission
|  | 1. | Scope of Proposed Project Form, FP-SP - One copy must be submitted for each project. If Type II, a copy of the Board of Education resolution noting the SEQRA determination, must be attached. If a Negative Declaration or Statement of Findings was issued by the district, copies must be submitted.
|  | 2. | SHPO Notification - If the building is 50 years old or older or the project involves the creation of
new space, the State Historic Preservation Office (SHPO) must be notified.
Project is exempt from review per Letter of Resolution - Form FP-OPRHP-LOR attached - one copy
|  | 3. | Evaluation of Existing Building - Form FP-EEB – one copy (Not applicable for new buildings)
Fully completed - for each instructional building
Signature of Architect/Engineer (A/E)
Question #51 answered "yes", or letter from district stating how and when nonconforming items will be corrected.
|  | 4. | Application for Approval of Final Plans and Specifications - Form EFP-F - one copy
|  |  |  | Date of proper authorization | [7 empty] | Copy of proposition to the voters OR
|  |  |  | Source of funding | [7 empty] | board resolution
|  |  |  | Estimated cost of project | [7 empty] | Clerk certification of vote tally
Signatures and A/E Seal
FP-CL 05/2012 | [26 empty] | page 2 of 2
|  | 5. | Code Compliance Checklist - Form FP-CCC – one copy
Fully executed
Signature and A/E Seal on Structural Responsibility Checklist and Certification.
|  | 6. | Floodplain Information - one copy (For all new buildings, additions and the associated site work for them.)
If floodplains are not located on the district property:
Submit on an 8 ½ “ x 11” paper the nearest floodplain at an appropriate scale. Show the district property on the floodplain plan. A certification by the architect or engineer must accompany the plan stating there is no floodplain on the district property.
If floodplains are located on the district property:
Submit an overlay of the floodplain information on the survey site plan. Include contours, elevations, projected 100-year flood elevations, and flooding boundaries. This must be accompanied by a copy of the appropriate correspondence to the local authority for a floodplain permit.
|  | 7. | Working Drawings (100% complete) for all work included in the FP-SP – one copy
Black or blue on white
Signature(s) A/E Seal(s) on each sheet
|  | 8. | Specifications (100% complete) for all work included in FP-SP – one copy
Wage Rates - incorporated in specification - paper clip
Equivalency Clause - "or equal" - in Instruction to Bidders - paper clip
Noncollusive Clause - in Form of Proposal - paper clip
Uniform Safety Standards - Commissioner's Regulations 155.5 - paper clip
Signature(s) and A/E Seal(s) on cover sheet
Construction Specification Institute (CSI) format
|  | 9. | Certifications by A/E:
FOR ALL PROJECTS – “The design of this project conforms to all applicable provisions of the New York State Uniform Fire Prevention and Building Code, the New York State Energy Conservation Code, and the building standards of the New York State Education Department.” Must appear on specification cover sheet.
Regarding Asbestos: - submit separate letter, as noted.
"No new asbestos containing building materials (ACBM) shall be used in construction."
"Work will not involve known ACBM as evidenced by bulk or destruct testing," OR
"Work will involve known or suspected ACBM, and will be done in accordance
with Industrial Code Rule #56.” Also, incorporate in specification.
Submit copy of the current NYS Department of Labor License (with picture) bearing the designation "I" for Asbestos Project Designer and indicating expiration date. The asbestos designer must also be a NYS licensed architect or engineer.
|  | 10. | Highway Official Notification: copy of letter regarding:
Permanent entrances and exits
Temporary entrances and exits, and
Storm drainage plans
|  | 11. | Smart Growth Public Infrastructure Impact Statement - Form FP-SGIS - one copy
|  | 12. | Application for Apportionment of Building Aid - Form FP-AP (ONLY if applicable)
|  | 13. | Executive Summary of 5-Year Capital Facilities Plan

## FP-F Final Plans Approval
FP-F 10/2011 | [22 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
APPLICATION FOR EXAMINATION AND APPROVAL OF FINAL PLANS AND SPECIFICATIONS
Instructions: Send one (1) copy to the Office Facilities Planning together with one copy of plans and specifications signed and sealed by the designing architect/engineer.
Name of District: |  |  | 0 | [7 empty] | County: | [7 empty] | SED Project Manager: |  |  | 0
District Office Address:
Contact Person: |  |  | 0 | [10 empty] | Telephone Number: | [5 empty] | 0
Building Name: | [5 empty] | 0
Are you receiving tuition for students from other districts? | [14 empty] | Yes |  |  |  | No
Number of tuition students accepted: | [12 empty] | Percentage of total facility enrollment:
SED Project Control Number |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1. | Date of Authorization of Project:
(vote of noncity district, or City Board of Education resolution)
2. | Source of Funds
| a. | Bonds. BANs - allocated to |  |  | 0
this project. (B/BANS)
If part of a larger amount.
enter total below:
|  | 0 | [10 empty] | 3. | Engineering Consulting Services Retained:
| b. | Budgetary Appropriation |  |  | 0 | [8 empty] | a. Structural
|  | If part of total | [20 empty] | License No.
authorization enter total below:
|  | 0 | [11 empty] | b. HVAC
License No.
| c. | Other (O) |  |  | 0
|  | If part of a larger amount | [11 empty] | c. Plumbing
|  | enter total below: | [20 empty] | License No.
0
d. Electric
| d. | Other (O) |  |  | 0 | [17 empty] | License No.
If part of a larger amount
|  | enter total below: | [11 empty] | e.
License No.
| e. | Total Financing must |  |  | 0
|  | equal line t. on page 2 | [11 empty] | f.
|  | 0 | [20 empty] | License No.
[11 empty] | 4. | Signatures
Name of A/E Firm
[11 empty] | Signature - Architect or Engineer | [11 empty] | date
[11 empty] | Signature - President, Board of Education | [11 empty] | date
[11 empty] | Signature - School Superintendent | [11 empty] | date
| Seal of | [9 empty] | Signature - District Superintendent | [11 empty] | date
| Architect or Engineer | [9 empty] | (if applicable)
FP-F 10/2011 | [22 empty] | Page 2 of 2
5. | [10 empty] | Cost Estimates
New Buildings
Item | [20 empty] | and Additions |  | Alterations
a. | General Construction (exclusive of Site Work)................................................................................... | [19 empty] | 0 |  | 0
b. | Heating and Ventilating (exclusive of site work)................................................................................... | [19 empty] | 0 |  | 0
c. | Plumbing (exclusive of site work).................................................................................................................................................................... | [19 empty] | 0 |  | 0
d. | Electric (exclusive of site work).................................................................................................................................................................... | [19 empty] | 0 |  | 0
f. | Other Costs | [19 empty] | 0 |  | 0
[21 empty] | 0 |  | 0
g. | TOTAL BUILDING COSTS (a-f inclusive)................................................................................... | [19 empty] | 0 |  | 0
h. | Architect's and/or engineer's fees.................................................................................................................................................................... | [19 empty] | 0 |  | 0
i. | Clerk of the works (salery).................................................................................................................................................................... | [19 empty] | 0 |  | 0
j. | Legal services....................................................................................................................................................................................................................................................... | [19 empty] | 0 |  | 0
k. | General administration costs.................................................................................................................................................................... | [19 empty] | 0 |  | 0
l. | Insurance during construction.................................................................................................................................................................... | [19 empty] | 0 |  | 0
m. | Site purchase price (No. of acres | [7 empty] | ) | [11 empty] | 0 |  | 0
n. | Site developement including roads, walks, playfields................................................................................... | [19 empty] | 0 |  | 0
o. | Utilities and services:
| 1. | Sewage...................................................................................................................................................................... | [18 empty] | 0 |  | 0
(site work)
| 2. | water, gas, electricity, telephone, fire alarm................................................................................... | [18 empty] | 0 |  | 0
p. | Furniture and equipment.................................................................................................................................................................. | [19 empty] | 0 |  | 0
r. | TOTAL INCIDENTAL COSTS(h-q inclusive).................................................................................................................................................................. | [19 empty] | 0 |  | 0
s. | SUBTOTALS (g plus r respectively).................................................................................................................................................................. | [19 empty] | 0 |  | 0
t. | GRAND TOTAL of NEW BUILDING and ADDITIONS,
| and ALTERATIONS..................................................................................................................................................................... | [19 empty] | 0

## Scope of Proposed Project
FP-SC 10/2011 | [29 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
SCOPE OF PROPOSED PROJECT
Instructions: Complete and submit one (1) copy of this form as part of the preliminary or final submission to the Office of Facilities Planning, Room 1060 EBA, Albany, NY 12234, for EACH capital construction project requiring approval of the Commissioner of Education pursuant to Education Law, Section 408 and the New York State Uniform Fire Prevention and Building Code. Please print legibly or type responses. (This form may be duplicated but may not be altered in any way).
1. | District/BOCES: |  |  |  | 0 | [10 empty] | Date Submitted: |  |  |  |  | 0
2. | Building Name: |  |  |  | 0 | [10 empty] | County: |  |  | 0
| Building Address: |  |  |  | 0
3. | Type of Project: |  |  |  |  | New Building | [6 empty] | Addition/Alteration | [6 empty] | Reconstruction | [7 empty] | Land Acquisition
4. | District/BOCES Contact Person: | [8 empty] | 0
| Title: | [14 empty] | Telephone: |  |  |  | 0
5. | Project Manager: |  |  |  |  | 0 | [9 empty] | Telephone: |  |  |  | 518-474-3906
6. | 0 | 0 | - | 0 | 0 | - | 0 | 0 | - | 0 |  | 0 | - | 0 | - | 0 | 0 |  | 0 | - |  |  | 0 |  | 0 |  | 0
| (BEDS Code) | [12 empty] | (Facility Code) | [8 empty] | (Project #)
7. | Type of Project: (check all appropriate boxes) | [15 empty] | 8. |  | Project Affects: (check all appropriate boxes)
|  | Construction or acquisition of any facility (not | [14 empty] | Adirondack Park Agency - 9 NYCRR 570-588
|  | additions) | [14 empty] | Agricultural District - 1 NYCRR 371
|  | Expansion of existing facility by more than 10,000 sq. | [14 empty] | Coastal Management Area - 19 NYCRR 600
|  | ft. gross floor area | [14 empty] | Contiguous Public Recreation Area - 6 NYCRR 617
|  | Acquisitions of land | [14 empty] | Critical Environmental Area - 6 NYCRR 617
|  | Physical alteration of 5 or more acres | [14 empty] | Flood Plain - 6 NYCRR 500
|  | Structure more than 100 feet in height | [14 empty] | Historical Landmark - 9 NYCRR 426-428
|  | Involves a building 50 years old or older | [14 empty] | Wetlands - 6 NYCRR 660,662
|  | Located in an historic district | [14 empty] | None of the Above
Located in an archeologically sensitive zone
None of the Above
Indicate below PERMITS which may be required from other government agencies. Obtaining necessary permits is the responsibility of the Board of Education and is a condition of Commissioner's Approval of Plans & Specification. NYCRR refers to the Official Compilation of Codes, Rules, and Regulations of the State of New York: 1-Agriculture and Markets; 6 - Environmental Conservation; 9 - Parks, Recreation, and Historic Preservation; 10 - Health; 19 - State. The list below is for assistance and is not all-inclusive.
9.
|  | construction of air contamination source - 6 NYCRR 20 | [14 empty] | alteration of a stream - 6 NYCRR 608
|  | indirect source of air contamination - 6 NYCRR 203 | [14 empty] | alteration of tidal wetlands - 6 NYCRR 660
|  | permits for on-site sewage system - (SPDES) 6 | [14 empty] | alteration of fresh water wetlands - 6 NYCRR 662
|  | NYCRR 750 | [14 empty] | open burning - 6 NYCRR 215, 219, 222
|  | construction of on-site sewage system - 6 NYCRR 750 | [14 empty] | water well drilling - 10 NYCRR 5
|  | water well drilling, Nassau and Suffolk Counties - | [14 empty] | public water supply - 10 NYCRR 5
|  | 6 NYCRR 602 | [14 empty] | swimming pool construction - 10 NYCRR 6
|  | construction in flood plain - 6 NYCRR 500 | [14 empty] | DOT permits as necessary
other
10. | Has the SEQRA process been completed?
Name of Lead Agency:
Final Determination: (Choose One):
|  | a. | Type II - official copy of Board Resolution sent to SED
(date)
|  | b. | Type I - Negative Declaration or Statement of Findings sent to SED
(date)
|  | c. | Unlisted Action - Negative Declaration or Statement of Findings sent to SED
(date)
FP-SC 10/2011 | [28 empty] | page 2 of 2
11. |  | a. |  | Type of Facility: | [6 empty] | School |  |  |  | Bus Garage | [5 empty] | Other (specify):
If this facility is a school:
What grade levels are currently housed?
What grade levels will be housed when this project is finished?
What is the current enrollment of this building?
What is the projected enrollment for this building?
(Note: Using the actual enrollments for the current year as a starting point, project five years into the future for Kindergarten through Grade Six; eight years for Grades Seven and Eight; and ten years for Grades Nine through Twelve.)
|  | b. |  | Does this project involve a new building? | [10 empty] | Yes |  |  | No |  | If yes, what is the total proposed gross
square footage for the new building?
|  | c. |  | Does this project involve an addition to an existing building? | [17 empty] | Yes |  |  | No
What is the gross square footage of the existing building?
What is the gross square footage proposed for the new space?
What is the proposed gross square footage of the entire building?
What is the total square footage proposed for alterations?
What is the age of the building to be altered?
|  | d. |  | Does this project involve a purchase of additional site? | [16 empty] | Yes |  |  |  | No
[6 empty] | If yes, what is the size of the site to be purchased? | [17 empty] | acres
[6 empty] | How many of those acres are useable? | [13 empty] | acres
[6 empty] | Is the new site adjacent to the present site? | [14 empty] | Yes |  |  |  | No
[6 empty] | If no, how far away is the new site from the existing site? | [16 empty] | miles
|  | e. |  | Current site information:
[6 empty] | What is the size of the current site? | [14 empty] | acres
[6 empty] | Are all acres useable on the current site? | [12 empty] | Yes |  |  | No
[6 empty] | If no, how many acres of the current site are useable? | [19 empty] | acres
|  | f. |  | Provide a comprehensive and thorough narrative. It must relate to the work detailed in the plans and specifications. If this project involves capital improvement, indicate which trades are included in the work. If this project involves new construction, indicate the type and number of rooms planned. Attach additional sheets if necessary to include details of the capital construction work. This form, including any attachments, is the controlling document for approval of state aid, including aid for change orders, and it will be required with each change order submission. Refer to publication "State Building Aid for Public School Districts and BOCES" for generally aidable and non-aidable capital construction expenses.
12. |  | SIGNATURES
|  |  |  | President, Board of Education | [22 empty] | Date
|  |  |  | Superintendent of Schools | [22 empty] | Date

## Project Details
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
Detailed Project Description
To be submitted with Scope of Proposed Project form
Item | Description | Details | Estimated Cost | EXCEL Category (if applicable)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## Smart Growth Statement
FP-SGIS 10/2011 | [18 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
STATE SMART GROWTH PUBLIC INFRASTRUCTURE IMPACT STATEMENT
District: |  | 0 | [9 empty] | Date: |  | 0
Building: |  | 0 | [9 empty] | Firm:
Address: | [11 empty] | Address:
SED Project #: |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
In accordance with the Smart Growth Public Infrastructure Policy Act, Environmental Conservation Law (Article 6 § 1-11), the applicant attests that the Smart Growth Impact for the proposed building project application has been assessed.
Please check appropriate boxes to indicate compliance.
This project adheres to the following criteria of the smart growth legislation:
to advance projects for the use, maintenance or improvement of existing infrastructure;
to advance projects located in municipal centers;
to advance projects in developed areas or areas designated for concentrated infill development in a municipally approved comprehensive land use plan, local waterfront revitalization plan and/or brownfield opportunity area plan;
to protect, preserve, and enhance the State’s resources, including agricultural land, forests, surface and groundwater, air quality, recreation and open space, scenic areas, and significant historic and archeological resources;
to foster mixed land uses and compact development, downtown revitalization, brownfield redevelopment, the enhancement of beauty in public spaces, the diversity and affordability of housing in proximity to places of employment, recreation and commercial development and the integration of all income and age groups;
to provide mobility through transportation choices including improved public transportation and reduced automobile dependency;
to coordinate between state and local government and intermunicipal and regional planning;
to participate in community based planning and collaboration;
to ensure predictability in building and land use codes; and
to promote sustainability by strengthening existing and creating new communities which reduce greenhouse gas emissions and do not compromise the needs of future generations, by among other means encouraging broad based public involvement in developing and implementing a community plan and ensuring the governance structure is adequate to sustain its implementation.
FP-SGIS 10/2011 | [18 empty] | page 2 of 2
Justification that the proposed projects meets one or more of the above criteria: (attach additional sheets as necessary ):
If no boxes are checked, please provide justification for non-compliance with the Smart Growth Act:
The applicant has determined it cannot adhere to one or more criteria as set forth in the Smart Growth Public Infrastructure Act. Justification for noncompliance with Smart Growth criteria is provided as follows: (attach additional sheets as necessary)
Justification:
APPLICANT:
Name of Superintendent of Schools | [10 empty] | Signature
Date
For SED Use Only:
Impact Statement is Approvable:
Impact Statement is NOT Approvable. Reason:
Reviewed by:

## SHPO Review Exemption
FP-OPRHP-LOR 10/2011 | [18 empty] | page 1 of 1
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
NYS Office of Parks, Recreation, and Historic Preservation
Project Review Exemption Based on the
Letter of Resolution
| District: |  | 0 | [8 empty] | Date: |  | 0
| Building: |  | 0 | [8 empty] | Firm:
| Address: | [10 empty] | Address:
SED Project Control Number |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
In Accordance with the Letter of Resolution (LOR) between the New York State Education Department (SED), and the New York State Office of Park’s, Recreation, and Historic Preservation (OPRHP), this project is exempt from OPRHP review because of one of the following:
The Building is less than 50 years old at the time of project initiation and it is not the work of a recognized Master Architect, Designer, or Builder, or associated with persons or events significant in the history of the State of New York.
This Building is 50 years old or older but has previously been evaluated by OPRHP and found not to meet the criteria for inclusion in the State and National Register.
``
The project work on this building falls under Appendix A of the LOR, has been designed in accordance with the LOR, certain scope of work items have been submitted to OPRHP for review and approval if required by the LOR, and therefore the project will have little or no potential impact on the character of historic resources.
The undersigned licensed professional herby certifies that the work of this project is exempt from OPRHP review for historic resources based on the above selection, and further, regardless of the above selection, that any portions of the project that include site work or ground disturbance, not in compliance with Appendix A, have been submitted to OPRHP for review of possible impacts to archeological resources.
| Signature | [12 empty] | License Number
Print Name

## SHPO Cover Form
New York State Office of Parks, Recreation and Historic Preservation
Historic Preservation Field Services Bureau
Peebles Island Resource Center, PO Box 189, Waterford, NY 12188-0189 (Mail)
[5 empty] | Delaware Avenue, Cohoes 12047 (Delivery) | [10 empty] | (518) 237-8643
PROJECT REVIEW COVER FORM | [19 empty] | Rev. 5-05
Please complete this form and attach it to the top of any and all information submitted to this office for review.
Accurate and complete forms will assist this office in the timely processing and response to your request.
This information relates to a previously submitted project. | [13 empty] | If you have checked this box and noted the previous Project Review (PR) number assigned by this office you do not need to continue unless any of the required information has changed.
| PROJECT NUMBER | [6 empty] | PR
COUNTY
2. This is a new project. | [7 empty] | If you have checked this box you will need to complete ALL of the following information.
Project Name
Location
You MUST include street number, street name and/or County, State or Interstate route number if applicable.
City/Town/Village
List the correct municipality in which your project is being undertaken. If in a hamlet you must also provide the name of the town.
County
If your undertaking* covers multiple communities/counties pleast attach a list defining all municipalities/counties included.
TYPE OF REVIEW REQUIRED/REQUESTED (Please answer both questions)
A. | Does this action involve a permit approval or funding, now or ultimately from any other governmental agency?
|  | No |  |  |  | Yes
If Yes, list agency name(s) and permit(s)/approval(s)
| Agency Involved | [9 empty] | Type of permit/approval | [6 empty] | State | Federal
B. | Have you consulted the NYSHPO web site at **http://nysparks.state.ny.us
to determine the preliminary presence or absence of previously identified cultural
resources within or adjacent to the project area? If yes:
Was the project site wholly or partially included within an identified
archeologically sensitive area?
Does the project site invilve or is it substantially contiguous to a property listed or recommended
for listing in the NY State or National Registers of Historic Places?
CONTACT PERSON FOR PROJECT
| Name | [10 empty] | Title
Firm/Agency
| Address | [8 empty] | City |  |  |  |  | State |  | Zip
| Phone |  |  | ( ) |  |  | Fax |  | ( ) |  |  |  | E-Mail
**http://nysparks.state.ny.us then select HISTORIC PRESERVATION then select On Line Resources
The Historic Preservation Review Process in New York State
In order to insure that historic preservation is carefully considered in publicly-funded or permitted undertakings*, there are laws at each level of government that require projects to be reviewed for their potential impact/effect on historic properties. At the federal level, Section 106 of the National Historic Preservation Act of 1966 (NHPA) directs the review of federally funded, licensed or permitted projects. At the state level, Section 14.09 of the New York State Parks, Recreation and Historic Preservation Law of 1980 performs a comparable function. Local environmental review for municipalities is carried out under the State Environmental Quality Review Act (SEQRA) of 1978.
regulations on line at:
http://nysparks.state.ny.us then select HISTORIC PRESERVATION then select Environmental Review
Project review is conducted in two stages. First, the Field Services Bureau assesses affected properties to determine whether or not they are listed or eligible for listing in the New York State or National Registers of Historic Places. If so, it is deemed "historic" and worthy of protection and the second stage of review is undertaken. The project is reviewed to evaluate its impact on the properties significant materials and character. Where adverse effects are identified, alternatives are explored to avoid, or reduce project impacts; where this is unsuccessful, mitigation measures are developed and formal agreement documents are prepared stipulating these measures.
ALL PROJECTS SUBMITTED FOR REVIEW SHOULD INCLUDE THE
FOLLOWING MATERIAL(S).
Project Description
Attach a full description of the nature and extent of the work to be undertaken as part of this project. Relevant portions of the project applications or environmental statements may be submitted.
Maps Locating Project
Include a map locating the project in the community. The map must clearly show street and road names surrounding the project area as well as the location of all portions of the project. Appropriate maps include tax maps, Sanborn Insurance maps, and/or USGS quadrangle maps.
Photographs
Photographs may be black and white prints, color prints, or color laser/photo copies; standard (black and white) photocopies are NOT acceptable.
- |  |  | If the project involves rehabilitation, include photographs of the building(s)
involved. Label each exterior view to a site map and label all interior views.
- |  |  | If the project involves new construction, include photographs of the surrounding
area looking out from the project site. Include photographs of any buildings
(more than 50 years old) that are located on the project property or on adjoining
property.
*Undertaking is defined as an agency’s purchase, lease or sale of a property, assistance through grants, loans or guarantees, issuing of licenses, permits or approvals, and work performed pursuant to delegation or mandate.

## Eval of Exist Bldg
FP-EEB 05/2012 | [21 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
EVALUATION OF EXISTING BUILDING
| SED Project Control Number |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 8 digit district BEDS number | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
(Check appropriate boxes)
| 1. Project |  |  | 2. Grades: |  |  |  |  | 3. Building Name: |  |  | 0
[9 empty] | Address: |  | 0
[6 empty] | (other-specify) |  |  | 4. Size of Site: |  |  |  |  | total acres, and |  |  |  | usable acres.
| 5. Name of District: |  |  | 0
| 6. Building Construction Information ……………………………. | [6 empty] | Class A/Construction Type |  |  |  |  | Class B/Construction Type |  |  |  |  | Class C/Construction Type
[8 empty] | IA | IB | IIA | IIB |  | IIIA | IIIB |  | IV |  |  | VA | VB
Original Building date
Addition #1 date
Addition #2 date
| 7. Building floor levels | [17 empty] | Number of stories
| 8. a. Are stairways enclosed? | [16 empty] | b. If yes, do enclosure doors have magnetic hold-opens?
| 9. | There shall be at least two means of egress remote from each other, leading from each floor, including | [16 empty] | *C | NC | NA
basement......................................................................................................................................................................................................................................................................................................................................................................
| 10. | Dead-end corridor pockets shall not exceed a depth of 1-1/2 times the pocket width ...................................................................................................................................................................................
| 11. | A handrail shall be provided on at least one side of each stairway...................................................................................................................................................................................
| 12. | There shall be no storage under stairs or landings, or in combustible attic space...................................................................................................................................................................................
| 13. | Corridors and exit ways shall be kept clear of obstructions...................................................................................................................................................................................
| 14. | Security gates shall not be located where exits will be obstructed or unapprovable dead-end
conditions will be created...................................................................................................................................................................................
| 15. | Spaces of pupil occupancy over 500 square feet shall have two separate means of egress. The primary
exit is commonly the opening to the corridor. The second exit may be a door into a separate smoke
zone, a door directly to the exterior, or an emergency rescue window...................................................................................................................................................................................
| 16. | Required emergency rescue windows and related hardware shall facilitate egress and shall be
appropriately marked for identification...................................................................................................................................................................................
[9 empty] | Size of CLEAR opening of rescue windows: |  |  | high, | by |  |  | wide.
| 17. | Any point in a space of pupil occupancy shall not exceed 50 feet to an exit door (except Places of
Assembly)...................................................................................................................................................................................
| 18. | In spaces of pupil occupancy in open-planned areas, there shall be free circulation for exiting
within the open-planned area...................................................................................................................................................................................
| 19. | Enclosed courts of over 700 square feet shall have remote exits with appropriate exiting hardware...................................................................................................................................................................................
| 20. | Door hardware shall be a type which will permit the door to be opened from within the space
without the use of a key...................................................................................................................................................................................
| 21. | Exterior and interior doors in exit ways serving three or more spaces of pupil occupancy and from
places of assembly shall have panic hardware...................................................................................................................................................................................
| 22. | Exit doors shall not be locked, chained or rendered inoperable from the inside at any time...................................................................................................................................................................................
| 23. | A building having wood structural members or wood roof deck shall not have a place of assembly
above the first floor, unless a written exception has been granted by the Commissioner...................................................................................................................................................................................
*C – Conformance; NC – Nonconformance; NA – Not Applicable
FP-EEB 05/2012 | [21 empty] | page 2 of 2
| 24. | Doors into stair enclosures shall swing in the direction of travel, be self-closing, and any glazing | [16 empty] | *C | NC | NA
shall be appropriate safety glazing...................................................................................................................................................................................
| 25. | Fire extinguishers with an Underwriter's label suitable for the type of fire likely to occur shall
be provided in areas of fire hazard, and at each floor level so that no point in a corridor or stair
is over 75 feet to a corridor located extinguisher...................................................................................................................................................................................
| 26. | Two-hour fire rated floor, ceiling (where space above is occupied), and walls with 1-1/2 hour,
self-closing doors shall be provided at:
a. boiler, furnace and incinerator room; transformer vaults...................................................................................................................................................................................
b. refrigeration, electrical, and mechanical equipment rooms...................................................................................................................................................................................
c. storerooms for fuel, flammable liquids, and gasoline powered equipment...................................................................................................................................................................................
| 27. | Required fire doors shall be maintained closed, or on hold opens tied to the fire alarm system ....................................................................................................................................................
| 28. | Glazing within 48 inches of the floor in and adjacent to doors, and other glazed panels within 18 inches of the
floor shall be of safety glazing material, unless glazed areas are protected by grilles or railings…………………………………………………………
| 29. | Glazed doors and sidelights shall be marked in accordance with 12 NYCRR Part 47..........................................................................................................................................................................................................................................................
| 30. | Window cleaning provisions shall be in accordance with 12 NYCRR Part 21..........................................................................................................................................................................................................................................................
| 31. | Mechanical, heat-producing and cooling equipment, auxiliary apparatus and controls, and the
installation of same shall be operable and in good condition...................................................................................................................................................................................
| 32. | Unused ducts shall be sealed at each opening with fire resistive materials...................................................................................................................................................................................
| 33. | Electronic flame safeguard controls shall, upon flame failure, respond in 2 to 4 seconds to cut
off the fuel supply through the burner and the main fuel valve...................................................................................................................................................................................
| 34. | All primary controls for fuel burning equipment operate on a 120 volt, single phase, grounded circuit...................................................................................................................................................................................
| 35. | Fuel burning heating units shall not be used in any space of pupil occupancy...................................................................................................................................................................................
| 36. | Ventilation with fresh air shall be available to all spaces of occupancy................................................................................................................................................................................…
| 37. | Water supply and distribution systems shall be operable and in good condition...................................................................................................................................................................................
| 38. | Plumbing fixtures and sanitary systems shall be operable and in good condition...................................................................................................................................................................................
| 39. | Gas entering the building shall be low pressure, i.e., 1/2 psig or less...................................................................................................................................................................................
| 40. | Electrical equipment, fixtures, auxiliary apparatus and controls, and wiring systems, and
the installation of same, shall be operable and in good condition without recurring problems ...................................................................................................................................................................................
| 41. | Electrically operated partitions have safety controls in accordance with 155.25.……………………………..……
| 42. | Level of artificial lighting in teaching areas shall be a minimum of 30 foot candles, maintained...................................................................................................................................................................................
| 43. | Exit signs: |  | a. Buildings of 1 to 6 classrooms shall have exit signs ……………………………………………………………………………………………………………..
b. Buildings with more than 6 classrooms shall have exit lights…………………………………………..
c. Places of assembly shall have exit lights………………………………………………………………………
| 44. | Emergency lighting shall be provided in all places of assembly for over 100 occupants or over
1800 square feet and in all exit ways leading from such places. Emergency lighting complies with
Section 1029 of the Fire Code of NY State……………………………………………………………………………
| 45. | Buildings of 1 to 6 classrooms shall be equipped with an approved manual or a manually
operated electric fire alarm which is capable of sounding for such a period of time as
to assure evacuation of all occupants...................................................................................................................................................................................
| 46. | Buildings of 7 or more classrooms shall be equipped with an approved manually operated electric alarm
system, which may include automatic detection, which will continue to sound for at least 30 seconds
or until the tripped station is returned to normal...................................................................................................................................................................................
| 47. | A telephone shall be provided in all buildings having pupil occupancy...................................................................................................................................................................................
| 48. | Are fire escapes provided? | [7 empty] | If yes, what type?
| 49. | If yes, are fire escapes structurally sound and in good repair? ……………………… | [11 empty] | .
| 50. | Architect's general appraisal of building for: | [6 empty] | a. Physical Condition: ……
b. Safety: ………………...…
| 51. | Does this building now conform and/or will this project result in the building conforming with Part 155.7
|  | of the regulations? | [15 empty] | If no, provide a written explanation. Number of pages attached:
Print name:
Signature:
[8 empty] | Date: | [5 empty] | Telephone:
Seal of P. E. or R. A. licensed in New York State
Submit ONE COPY of this form with preliminary submission, if required, or with final submission for approval of plans and/or specifications. Each school building shall conform to the following items based on Part 155.7 of the Regulations of the Commissioner of Education. The board of education shall submit for consideration, a letter indicating positive corrective action on nonconforming items which will not be corrected by this work. Describe conditions as they now exist. Failure to answer ALL items will delay approval of the project.
Per Part 155.8 (e) (3) of the Regulations of the Commissioner of Education, a Certificate of Occupancy, a temporary certificate or a building permit may be denied or revoked for … violation of … health or safety standards, imposed by law or regulation, which indicate that a building is not suitable for occupancy or intended use.

## Code Compliance Checklist
FP-CCC 10/2011 |  | THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK | [19 empty] | page 1 of 9
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
CODE COMPLIANCE CHECKLIST
| General Information | PAGES 1, 2, AND 3 ARE REQUIRED FOR ALL PROJECTS SUBMITTED FOR REVIEW.
| Note: | Fill in every line.
| Note: | The Excel version of this form has comments embedded for guidance in filling out many areas of the form. Comments are
accessible by placing the cursor over the red triangle, right click and hit edit to read or copy the comment.
| SED Project Control Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
District / Building Name:
Project Type:
Project Description:
Architect / Engineer firm:
|  |  | name | [14 empty] | phone number & e-mail
Project Contact Person:
|  |  | name |  |  |  |  | title | [9 empty] | phone number & e-mail
District Contact Person:
|  |  | name |  |  |  |  | title | [9 empty] | phone number & e-mail
SED Project Control Number located on all Contract Documents, forms, and correspondence.
Required Bidding information is located in the contract documents on page or drawing numbers and are paperclipped:
| Equivalency Clause |  |  |  | Non-Collusion Certification | [8 empty] | Wage Rates
Required Uniform Safety Standards per Commissioner's Regulations Part 155.5 are located in specifications or on drawings and are paperclipped:
Page 2 CODE REVIEW CHECKLIST . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
Page 3 STRUCTURAL RESPONSIBILITY CHECKLIST and CERTIFICATION . . . . . . . . . . . . . . . . . . . . . . . . . .
Page 4 ARCHITECTURAL REVIEW CHECKLIST . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
Page 5 STRUCTURAL DESIGN CHECKLIST . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
Page 6 ENERGY CONSERVATION CODE CHECKLIST . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
Page 7 FIRE & ELECTRIC CODE REVIEW CHECKLIST . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
Page 8 MECHANICAL REVIEW CHECKLIST . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
Page 9 PLUMBING & GAS REVIEW CHECKLIST . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
It is not necessary to provide pages noted as "NA". If the page does apply and is erroneously not provided, the project will not be reviewed until the page is provided with an addendum.
FP-CCC 10/2011 |  | CODE REVIEW CHECKLIST | [18 empty] | page 2 of 9
1
| SED Project Control Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
0
|  | District Name | [14 empty] | Building Name
Building Information: Provide on Code Compliance Drawing
Use and Occupancy Classifications: (check all that apply)
For Existing Buildings check all that apply:
* Provide Key Plans demonstrating distinct work areas
list drawing numbers
Type of Construction: (check all that apply)
Existing bldg:
New building(s) and Additions:
Proposed Building Height and Area for New Buildings and Additions: (If additional space needed, provide on Code Compliance Drawings.)
| Total Permitted (incl modifications): | Height in feet: | [5 empty] | Number of stories: | [6 empty] | Square feet / floor*
| Actual: | Height in feet: | [5 empty] | Number of stories: | [6 empty] | Square feet / floor*
Provide calculations on a Code Compliance Drawing.
Special Features: (check all that apply)
For All Projects* Provide Code Compliance Drawings:
| (*excludes site, roof, district-wide and energy performance projects) | [13 empty] | list drawing numbers
Is a Sprinkler System provided?
| Building Information: (Provide on Code Compliance Drawing) | [8 empty] | Egress Information: (Provide on Code Compliance Drawing)
| Occupancy Classification | [8 empty] | Room Occupancy Loads
| Construction Classification - Existing | [8 empty] | Travel Distance in Room
| Construction Classification - New | [8 empty] | Travel Distance in Corridors
| Site Plan with building sides accessible | [8 empty] | Stair & Exit Door exit width Calculations
| Building Areas (1) | [8 empty] | Accessibility for Exist and New
| Fire Areas (2) | [8 empty] | Rescue Windows
| Room Use Designations | [8 empty] | Rated Walls Indicated - Existing & New
Room Square Footages
(Provide numbered Building Areas (existing and new), construction types, number of stories, number of sides accessible, allowable Fire Areas and actual Fire Areas with calculations. Show locations of fire walls, fire barriers, and fire partitions.)
(1) See BCNYS 502.1 - Provide Building Area per floor in accordance with BCNYS Table 503.
(2) See BCNYS 702.1 - Floors are cumulative unless 2-hour rated floor/ceiling assembly provided. Fire areas greater than 20,000 square feet require sprinklers per BCNYS 903.2.2.
Accessory Assembly Use Spaces: Provide SED and BCNYS Exit Width Calculations
FP-CCC 10/2011 |  | STRUCTURAL RESPONSIBILITY | [18 empty] | page 3 of 9
CHECKLIST and CERTIFICATION
1
| SED Project Control Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
0
|  | District Name | [14 empty] | Building Name
The architect/engineer for each project which requires approval by the Commissioner, shall complete and sign this form and submit it together with the final plans and specifications for the project.
A. STRUCTURAL ELEMENTS
Are there any structural elements involved with this project
|  | a. | If no, go to Section D and sign the Certification.
|  | b. | If yes, complete Sections B, C, and D, seal and sign the Certification.
B. STRUCTURAL LOADING
Structural loading shall meet at least the requirements of the Uniform Fire Prevention
and Building Code. Page 5, the Structural Design Checklist, is appropriately filled in and attached.
C. STRUCTURAL DESIGN
| IMPORTANT: | [16 empty] | IMPORTANT:
| Check who is responsible | [15 empty] | Check applicable
| for the design of each element | [15 empty] | for each element
| ARCH | ENGR | [13 empty] | Present |  |  | Not Present
[6 empty] | STRUCTURAL ELEMENT | [9 empty] | In Work |  |  | In Work
1. Foundation
a. Footings
b. Walls
c. Piles (type)
2. Floor Framing Systems
a. Mechanical/Special Framing
3. Columns
4. Walls
a. Exterior Bearing
1. lintels
2. veneer attachment
3. reinforcing
b. Exterior Nonbearing
1. lintels
2. veneer attachment
3. reinforcing
c. Interior Bearing
1. lintels
2. reinforcing
d. Interior Nonbearing
1. lintels
2. reinforcing
5. Roof Framing Systems
[7 empty] | a. Mechanical/Special Framing | [14 empty] | `
6. Stairs and Stairways
7. Bridges
8. Catwalks
9. Railings
10. Bleachers/Grandstands
11. Retaining Walls
12. Chimney Stacks
13. Parapet Walls
14. Other
D. CERTIFICATION
I, the undersigned, do hereby certify that: (Check appropriate box)
There are no structural elements involved in the project, or
I have designed the structural elements of this project, as noted above, in accordance with at least the criteria listed in the New York State Uniform Fire Prevention and Building Code.
| Seal of R. A. licensed in New York State | [14 empty] | Seal of P. E. licensed in New York State
| Signature - Architect | Date | [13 empty] | Signature - Engineer |  |  |  |  | Date
FP-CCC 10/2011 |  | ARCHITECTURAL REVIEW CHECKLIST | [18 empty] | page 4 of 9
1
| SED Project Control Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
0
|  | District Name | [14 empty] | Building Name
[11 empty] | Document Type |  |  |  |  | Select One Option for Each Line Item
Architectural Element
Dead End Corridors less than 1-1/2 times the width, max 20 ft.
Smoke Zone Exiting all student spaces over 500 sq. ft.
Rescue Windows located on Construction Documents
Rescue Window Clear Opening Size on Construction Document(s)
Class A finishes in Corridors and Assembly Spaces
Assembly Area Maximum Occupancy Sign
Electrically Powered Moveable Partition Sign
Fire Extinguishers
Safety Glazing in Doors, Exterior Corridor Windows, and Stair Windows
Fire Resistance Rated Assembly UL Design Numbers
Corridor Enclosure Rating
Rated Interior Corridor Windows
Elevator Equipment Room Enclosure 2 hour
Stairways, riser and tread sizes are indicated
Classroom Ceiling height 9'-0"
Secure Exam Storage
Fire Blankets in Laboratory Rooms
Door Schedules
Hardware Schedule
Window Schedules
Roof System UL Class A or FM Class 1
Carpet, Radiant Floor Panel Test Class 1
Assembly Area Seating meets California Technical Bulletin 117
Fire Rated Glazing is impact resistant
Truss/Joist Identification Signs
Site and floor plans showing separations during construction
[11 empty] | Document Type |  |  |  |  | Select One Option for Each Line Item
Accessibility
Parking
Exterior Accessible Route
Signage
Accessible Exits / Entrances
Accessible Toilets
Accessible Work Stations in all classrooms
Door Approach Clearances
Interior Accessible Route to major spaces
Door Hardware
Wheelchair Viewing Spaces in assembly spaces
Auditorium ambulatory seats
Assistive Listening Devices
Public Telephones
Elevator
Elevator Signage
Interior Accessibility Signage
All Program Spaces are Accessible
There is an Accessible Toilet Room on Every Floor
FP-CCC 10/2011 |  | STRUCTURAL DESIGN CHECKLIST | [18 empty] | page 5 of 9
1
| SED Project Control Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
0
|  | District Name | [14 empty] | Building Name
1604.5 Prior to structural design, the District / BOCES has been consulted to determine if this facility is currently or will be
| considered for use as an emergency shelter facility? | [7 empty] | Will this building be used as an emergency Shelter?
The New York State Uniform Fire Prevention and Building Code Section 1603 requires, "The design loads and other information pertinent to the structural design required by Sections 1603.1.1 through 1603.1.8 shall be clearly indicated on the construction documents."
[10 empty] | Document Type | [5 empty] | Location in Construction Documents
1603.1.1 Floor live load
1603.1.2 Roof live load
1603.1.3 Roof snow load
1603.1.4 Wind design data
1603.1.5 Earthquake design data
1603.1.6 Flood design data
1603.1.7 Special loads
applicable code sections
1603.1.8 System and components requiring special inspections for seismic resistance
1802.6 Soil classification & design load bearing capacity
Soil investigation report:
1613.1 Seismic design of nonstructural components have been reviewed and coordinated with architect and engineers
1704 Special Inspection requirements, where are they located in the documents?
Print name:
Signature:
|  |  |  | Date: | [5 empty] | Telephone:
Seal of P. E. or R. A. licensed in New York State
FP-CCC 10/2011 |  | ENERGY CONSERVATION CODE CHECKLIST | [18 empty] | page 6 of 9
1
| SED Project Control Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
0
|  | District Name | [14 empty] | Building Name
In accordance with the Energy Conservation Code of New York State, the specific path of code compliance for each element of the building regulated by the code shall be clearly identified within the construction documents, and that when compliance is achieved through computer software programs the documentation shall include all of the worksheets associated with specific building elements.
| Exempt Building: | Reason:
Applicability:
Climate Zone:
Design Approach:
DOE Software Used:
502 Building Envelope Requirements:
[8 empty] | Document Type | [6 empty] | Location in Construction Documents
U-factors of the envelope systems
U-factors of fenestration products
R-values of insulating materials
503 Building Mechanical Systems:
Design Load:
504 Service Water Heating:
505 Lighting and Power Systems:
Systems - Interior lighting power:
506 Design By Total Building Performance:
Provide a full detailed analysis of the entire building and all systems.
FP-CCC 10/2011 |  | FIRE & ELECTRIC CODE REVIEW CHECKLIST | [18 empty] | page 7 of 9
| SED Project Control Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
0
|  | District Name | [14 empty] | Building Name
NA = Not Applicable
| FIRE SERVICE |  |  |  |  | Document Type |  |  |  |  | MEANS OF EGRESS
| Fire Apparatus Access Roads | [10 empty] | New Buildings | [7 empty] | Document Type
| Access to Openings & Roofs | [9 empty] | Corridor Plenum
| Stairway Identification | [9 empty] | Exit Enclosure Ventilation
| Premises Identification | [9 empty] | Exit Signs
| Hazards Firefighters | [9 empty] | Egress Illumination
| Water Supplies | [9 empty] | Emergency Power
| Fire Hydrants | [9 empty] | Area of Refuge
| Fire Command Center | [9 empty] | Boiler/Furnace/Refrig. Rms
| BUILDING SYSTEMS |  |  |  |  | Document Type |  |  |  |  | Fire Code Section 1029
| Emergency Power | [9 empty] | Renovations, alterations, reconstructions, additions, and changes of occupancy
| Electrical Eqpt, Wiring & Hazards | [18 empty] | Document Type
| Mechanical Refrigeration | [9 empty] | Exit Signs
| Elevator Recall | [9 empty] | Egress Illumination
| Battery Systems | [9 empty] | Emergency power
| FIRE PROTECTION SYSTEMS |  |  |  |  | Document Type | [13 empty] | Document Type
| Automatic Sprinkler System | [9 empty] | Combustible Dust
| Alternative System | [9 empty] | Fire Safety During Construction
| Hood Fire Suppression | [9 empty] | Flammable Finishes
| Standpipe System | [9 empty] | Service Stn. & Repair Garage
Fire Extinguishers
| Fire Alarm | [9 empty] | GENERAL - FIRE | [8 empty] | Document Type
| Automatic Detection System | [9 empty] | Acceptance Testing/Inspection
| Emergency Alarm System | [9 empty] | Training
| Smoke Control System | [9 empty] | Equipment Listed/Labeled
| Smoke & Heat Vent | [9 empty] | Fire Stopping
| Municipal FA Station | [9 empty] | Identification
| Explosion Control | [9 empty] | Equipment Location
Fire Dept. Connections
Fire Pumps
AH Units & Fans shutdown w/ FA
| ELECTRICAL |  |  |  |  | Document Type |  |  |  |  | GENERAL - ELECTRIC | [8 empty] | Document Type
| Telephone | [9 empty] | Acceptance Testing/Inspection
| NEC (NFPA 70) Electric Work | [9 empty] | Training
| Panel/Circuits Identified | [9 empty] | Equipment Listed/Labeled
| Artificial Light | [9 empty] | Fire Stopping
| Explosion Proof Equipment | [9 empty] | Equipment Location
| Shop Emergency Shunts | [9 empty] | Access/Clearances
| Dust Proof Shop Outlets | [9 empty] | Identification Lines/Mtl./Eqpt.
| Shielded Shop Light Fixtures | [9 empty] | Instruction Manual / Video
| Closed Elec. Htg. Elements & UL | [9 empty] | Material/Eqpt Reuse
| Underground Electric Service | [9 empty] | Unsafe System Rehab/Rmvl.
Elevator Code A17.1
Electric Operated Partition
Plenum Cable
HID Self Extinguishing
Other: ________________
FP-CCC 10/2011 |  | MECHANICAL REVIEW CHECKLIST | [18 empty] | page 8 of 9
| SED Project Control Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
0
|  | District Name | [14 empty] | Building Name
NA = Not Applicable
| BOILER ROOM | [9 empty] | Duct Systems | [8 empty] | Document Type
| Fuel: | [9 empty] | Plenum
[6 empty] | Document Type |  |  |  |  | Construction
| Low Water Cutoff | [9 empty] | Insulation
| Combustion Air | [9 empty] | Filters
| Clearance | [9 empty] | Smoke Detection Systems
| Safety Burner Switch | [9 empty] | Fire Dampers
| Chimney/Vent | [9 empty] | Smoke Dampers
Standards
| Electronic Flame Safeguards | [9 empty] | Appliances | [8 empty] | Document Type
| Safety Valves & Controls | [9 empty] | Cooling Towers
| 12NYCRR4 (Ind. Code Rule 4) | [9 empty] | Forced Air Furnace
| Remote Burner Shutoff Valves | [9 empty] | Engine/Turbine
| Fuel Train Standards | [9 empty] | Other: ___________________
| Scald Protection Domestic HW | [9 empty] | Other: ___________________
ASME Vessel
[11 empty] | Refrigeration | [8 empty] | Document Type
| MECHANICAL | [9 empty] | ASHRAE 15
Refrigerant type
| Ventilation |  |  |  |  | Document Type |  |  |  |  | Machinery Room
| Intake Openings & Protections | [9 empty] | Piping
Ventilation Rate
| Common System | [9 empty] | Hydronic piping | [8 empty] | Document Type
| Balancing | [9 empty] | Material
| Uninhabited Spaces | [9 empty] | Insulation
Valves
| Exhaust |  |  |  |  | Document Type |  |  |  |  | Installation requirements
Independent Systems
| Toilet/Locker/Janitor Closets | [9 empty] | Fuel Oil | [8 empty] | Document Type
| Hazardous Areas | [9 empty] | Materials
| Laboratories | [9 empty] | Piping
| Shops | [9 empty] | Storage
| Kitchen Domestic | [9 empty] | Valves
Kitchen Commercial
| Kitchen Commercial Makeup | [9 empty] | Solar Systems
Mechanical Equipment Rooms
Elevator Equipment Rooms
Subslab
Other: ________________
GENERAL
[6 empty] | Document Type | [13 empty] | Document Type
| Acceptance Testing/Inspection | [9 empty] | Sequence of Operations
| Training | [9 empty] | Identification Lines/Mtl./Eqpt.
| Equipment Listed/Labeled | [9 empty] | Instruction Manual / Video
| Fire Stopping | [9 empty] | Material/Eqpt Reuse
| Equipment Location | [9 empty] | Unsafe System Rehab/Rmvl.
| Access/Clearances | [9 empty] | Condensate Disposal
| Controls | [9 empty] | No Direct Fired Heaters
FP-CCC 10/2011 |  | PLUMBING & GAS REVIEW CHECKLIST | [18 empty] | page 9 of 9
| SED Project Control Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8 digit district BEDS Code | [7 empty] | 4 digit building number |  |  |  | 3 digit project number
0
|  | District Name | [14 empty] | Building Name
NA = Not Applicable
| PLUMBING |  |  |  |  | Document Type |  |  |  |  | GAS | [8 empty] | Document Type
| Rodent proofing | [9 empty] | Low pressure 1/2 psig or less
| Protection plumbing systems | [9 empty] | No gas lines in corridors
| Structural Safety | [9 empty] | Master Gas Valve for Outlets
| Piping Support | [9 empty] | Pipe Size/Material
| Floodproofing | [9 empty] | Valves
Encl. of Pressure Regulation Equip.
| Fixtures/Faucets/Fittings |  |  |  |  | Document Type |  |  |  |  | PSC Distribution Service
| Fixture Adequacy | [9 empty] | Liquid Petroleum Gas - NFPA 58
| Accessible Facilities | [9 empty] | Vent / Chimney
| Emergency Shower/Eyewash | [9 empty] | Appliances Shown
| Drinking Fountains | [9 empty] | Other: ___________________
| Sink - Bubbler Separated | [9 empty] | Other: ___________________
Lavatories
| Showers | [9 empty] | GENERAL - GAS | [8 empty] | Document Type
| Sinks | [9 empty] | Acceptance Testing/Inspection
| Urinals | [9 empty] | Training
| Water Closets | [9 empty] | Equipment Listed/Labeled
| Water Saving Fixtures | [9 empty] | Fire Stopping
Equipment Location
| Water Heaters |  |  |  |  | Document Type |  |  |  |  | Access/Clearances
| DHW Heater ASME Tank | [9 empty] | Controls
| Location | [9 empty] | Sequence of Operations
| Controls | [9 empty] | Identification Lines/Mtl./Eqpt.
| Safety Devices | [9 empty] | Instruction Manual / Video
| Insulation | [9 empty] | Material/Eqpt Reuse
Unsafe System Rehab/Rmvl.
| Water Supply and Distribution |  |  |  |  | Document Type |  |  |  |  | Condensate Disposal
| Protect Water Quality | [9 empty] | No Direct Fired Heaters
Size/Material Piping
No Lead Solder
Disinfection
| Sanitary Drainage |  |  |  |  | Document Type
Sanitary Discharge Permits
Storm - Sanitary Separated
Size/Material Piping
Sumps/Ejectors
Indirect/Special Waste
Document Type
Vents
Traps/Interceptors/Separators
Storm Drainage
Swimming Pool
GENERAL - PLUMBING
[6 empty] | Document Type | [13 empty] | Document Type
| Acceptance Testing/Inspection | [9 empty] | Identification Lines/Mtl./Eqpt.
| Training | [9 empty] | Instruction Manual / Video
| Equipment Listed/Labeled | [9 empty] | Material/Eqpt Reuse
| Fire Stopping | [9 empty] | Unsafe System Rehab/Rmvl.
| Equipment Location | [9 empty] | Condensate Disposal
Access/Clearances
Note on B30: Required information must be provided. Please paperclip or otherwise mark the location for easy reference in the specifications and / or drawings.
Note on B31: The important thing to understand is that "equivalents" relate to the bidding process, while "substitutions" come into play after contracts are signed. This is in keeping with the Department's requirement that a clause allowing for equivalents and defining the process must be included in the Instruction to Bidders part of the specification. Remember, when talking about "equivalents", any reference to "substitutions" must be expunged from the thought process. EQUIVALENTS - In the specifications, two or more kinds, types, brands, or manufacturers or materials are regarded as the required standard of quality and are presumed to be equal. The contractor may select one of these items or, if the contractor desires to use any kind, type, brand, or manufacturer or material other than those named in the specifications, they shall indicate in writing, when requested, and prior to award of contract, what kind, type, brand, or manufacturer is included in the base bid for the specified item.
Note on K31: General Municipal Law – Public Contracts, Article 5-A must be in the documents and paperclipped for review. §103-d. Statement of non-collusion in bids and proposals to political subdivision of the state Every bid or proposal hereafter made to a political subdivision of the state or any public department, agency or official thereof where competitive bidding is required by statute, rule, regulation or local law, for work or services performed or to be performed or goods sold or to be sold, shall contain the following statement subscribed by the bidder and affirmed by such bidder as true under the penalties of perjury: Non-collusive bidding certification. “(a) By submission of this bid, each bidder and each person signing on behalf of any bidder certifies, and in the case of a joint bid each party thereto certifies as to its own organization, under penalty of perjury, that to the best of knowledge and belief: (1) The prices in this bid have been arrived at independently without collusion, consultation, communication, or agreement, for the purpose of restricting competition, at to any matter relating to such prices with any other bidder or with any competitor; and (2) Unless otherwise required by law, the prices which have been quoted in this bid have not been knowingly disclosed by the bidder and will not knowingly be disclosed by the bidder prior to opening, directly or indirectly, to any other bidder or to any competitor; and (3) No attempt has been made or will be made by the bidder to induce any other person, partnership or corporation to submit or not to submit a bid for the purpose of restricting competition.” Effective Date. Section effective Sept. 1, 1963, pursuant to L.1963, c. 956, § 2/
Note on R31: Prevailing Wage Rates 457-5589 8:30 to 5 P.M. fax 518-485-1870, request form PW-39.
Note on B34: "Required" information is required by law or legal opinion and must be provided. We must look for the RESCUE Law of 1998 items contained in 155.5 in every contract document set. It is suggested that all SED required items including the TEM statement be located in one location in the specification for ease of review and for use during construction. Please paperclip or otherwise mark the location for easy reference in the specifications and / or drawings.
Note on E37: This page is required for every project.
Note on L38: This replaces the Structural Responsibility Checklist and Certification. Formerly Form FP-SC. This page is required for every project.
Note on F40: Page 4 STRUCTURAL DESIGN CHECKLIST: This page is required with any projects that include any structural design.
Note on N58: Motor vehicle repair garages.
Note on H59: 508.3.1 Fire barrier is not required for an accessory use space that is less than 10% of the area of the story in which they are located... 508.3.1 Exception 2 Assembly uses accessory to Group E are not considered separate occupancies. So, you would only check this box for a free standing building.
Note on N59: Parking garages.
Note on I205: Items shaded in this section are from the Regulations of the Commissioner of Education 8NYCRR155
Note on B220: S206-1 Vaults for storing Examination Materials must be provided and inspected for the district to receive Regents Examination materials. Access to storage vaults used to store state wide examination materials should be from areas that are under constant supervision and must not be in areas that are accessible by the public. Examination booklets are shipped in one of 3 container sizes. Boxes containing up to 600 booklets may be either 20" x 27" x 10-1/2" or 20" x 10" x 13-12". Chests for over 1200 booklets up to 2200 booklets are 28" x 14-3/4" x 23-1/2". The containers may be stored in any orientation. Vaults must be sized to accommodate either size box or chest as required by the school or district's examination order size. See also S105-3c. Hardware Specifications a. Floors: poured concrete. b. Walls: reinforced concrete or reinforced cement block sealed to the poured concrete floor and also to the structural floor or roof above. c. Door: metal door shall be medium duty, generally 18 gauge, and reinforced for hardware, Frame: metal frame shall be medium duty, welded, and filled with masonry cement, Hardware: hardware shall be medium duty, consisting of hinges inside the vault or welded pin hinges, and classroom function lock set with dead locking latch bolt. d. Windows or access panels are not allowed in the vault. e. Duct work penetrations in the walls for ventilation may be approved on an individual basis depending upon location relative to the door, exterior accessibility, and normally not to exceed 36 square inches.
Note on C229: Title 19 NYCRR Part 1264 - IDENTIFICATION OF BUILDINGS UTILIZING TRUSS TYPE CONSTRUCTION http://www.dos.state.ny.us/code/trussID.htm
Note on H230: Construction areas are required to be separated from both exterior and interior student / staff occupied areas as per Commissioner's Regulation 155.5(f). For projects including additions, reconstruction, and/or renovations: Provide site plans indicating all fences to separate construction areas from non-construction areas. Include construction parking, roads, and staging areas if appropriate to the size of the project. For interior construction separate construction areas from occupied areas with metal framed one-hour fire-rated partitions. Schedules must be set up to separate students from construction workers whenever students are in the building. This must include after school activity hours and is NOT limited to class hours. Construction workers cannot enter or pass through student occupied areas of the site or building. This includes utilizing toilet facilities on the available to staff or students.
Note on B236: Building Code of New York State Section 1110 Signage addresses locations and types of signs for the disabled. Plastic materials are addressed in the Manual of Planning Standards and in Chapter 26 of the Building Code of New York State. Manual of Planning Standards burn rates require use of class CC1 plastics for interior signage.
Note on C237: Building Code of New York State Section 1105 1105.1 Required. At least 50 percent but not less than one entrance to each building and structure, and each separate tenant space within the building or structure, shall comply with the accessible route provisions of this chapter.
Note on D250: As required by Section 504 of the Rehabilitation Act of 1973 and Title II of the American Disabilities Act of 1990.
Note on G251: As required by Section 504 of the Rehabilitation Act of 1973 and Title II of the American Disabilities Act of 1990.
Note on B261: February 2004 TO: District Superintendents Superintendents of Schools FROM: Charles A. Szuberla, Jr. SUBJECT: Red Cross Sheltering Agreements New York State has traditionally taken an active role in working with the American Red Cross. School facilities are generally perceived as safe havens during emergencies and disasters. Commissioner's Regulation 155.17(c) further addresses this issue by stating that boards of education "….shall cooperate with appropriate State, county, and city agencies in developing agreements for the use of school-owned facilities and vehicles during a disaster." Accordingly, the State Education Department has long stressed the importance of schools to work with their local Red Cross chapter in completing a Statement of Agreement Concerning The Use Of Facilities As Mass Care Shelters By The American Red Cross. The agreement states that after meeting its responsibilities to pupils, schools will permit their facilities to be used by the Red Cross as shelters. In addition, the Red Cross will reimburse the school for food and supplies used during the school's use as a shelter. Finally, the Red Cross will defend, hold harmless, and indemnify the school district against legal liability arising from the negligence of the Red Cross. While the completion of a Red Cross sheltering agreement is key, a shelter cannot open unless a Red Cross trained individual is present to serve as the shelter manager. It would be valuable for school employees to volunteer to complete the Red Cross shelter manager training and serve as shelter managers for Red Cross shelters in the school district. This would achieve two main objectives: school employees are most familiar with their own school buildings and would be the most effective and efficient shelter managers. Secondly, school district employees serving as Red Cross volunteer shelter managers will enable the district to be prepared to aid the community in time of need. Some key shelter manager responsibilities include: determining the shelter layout and assigning shelter staff assessing feeding options ensuring that shelter residents are kept current on the disaster and recovery process inspecting the shelter for safety and sanitation coordinating plans to close the shelter. Information on Red Cross shelter agreements and manager training may be obtained by contacting John Coffey, Red Cross Liaison to SEMO at 518-457-8909 or your local Red Cross chapter. Contact Laura Sahr, SED Emergency Planning Liaison, for further assistance on school emergency planning issues at lsahr@mail.nysed.gov or 518-474-3906.
Note on B366: F503.1.1 - Fire apparatus access roads shall be provided and shall extend to within 150 feet of all portions of the facility/building or any portion of the exterior wall of the first story of the building as measured by an approved route around the exterior.
Note on B367: F504.1 - Access is required to exterior doors and for fire department access. A walkway leading from fire apparatus access roads to exterior openings or the exit doors shall be provided.
Note on B368: F504.3 - Where a stairway to the roof is required by the Building Code of New York State, such stairway shall be marked at street and floor levels with a sign indicating that the stairway continues to the roof.
Note on B369: F505 - New and existing buildings shall have approved address numbers, building numbers or approved building identification placed in a position that is plainly legible and visible from the street or road fronting the property.
Note on B370: F507.4 - Roof obstruction locations and protection.
Note on B371: F508.4 - If you are constructing or altering any fire hydrant, standpipe, or sprinkler systems provide the water supply test data.
Note on B372: F508.5.1 - Where a location on a newly constructed fire apparatus access road is more than 400 feet from a hydrant on a fire apparatus access road or public street, sd measured by an approved route, on-site fire hydrants and mains shall be provided. F508.5.4 - .5 - .6 - .7 - Requirements for the location, obstructions, clear space around, physical protection, and identification of fire hydrants.
Note on B385: F609.8, F904.2.1, & F904.11 Provide a fire extinguishing system in commercial cooking systems (kitchens).

## Special Inspect
FP-SSI 010/2011 | [9 empty] | page 1 of 5
|  | NYS EDUCATION DEPARTMENT |  |  | STATEMENT OF SPECIAL
|  | Office of Facilities Planning |  |  | INSPECTIONS AND TESTS
|  | 89 Washington Avenue, Room 1060 EBA |  |  | As required by the Building Code of NYS (BCNYS)
Albany, NY 12234
BCNYS § 1704.1.1 requires the project Design Professional to complete the Statement of Special Inspections and Tests. Completion of the Statement of Special Inspections & Tests and submission to the Office of Facilities Planning with the Construction Permit Application is a condition for issuance of the Building Permit.
School District | [6 empty] | Building
Project Title
SED Project # | [5 empty] | Project Address
Architect/Engineer
Name of Person Completing this Statement | [6 empty] | Phone |  | Date
Comments
INSPECTION AND TESTING (Continuous & Periodic is as Defined by the BCNYS) |  |  | CONTINUOUS | PERIODIC | REFERENCE STANDARD |  | BCNYS REFERENCE | CHECK IF REQUIRED | IDENTIFY SPEC SECTION AND PROVIDE CLARIFYING NOTES IF NECESSARY
A. | Steel Construction
1. | Material verification of high-strength bolts, nuts and washers. |  |  | X | Applicable ASTM material specifications. AISC 360, Section A3.3 |  | 1704.3
2. | Inspection of high-strength bolting. |  | X | X | AISC 360, Section M2.5 |  | 1704.3, 1704.3.3
3. | Material verification of structural steel. |  |  |  | ASTM A 6 or A 568 |  | 1704.3, 1708.4
4. | Material verification of weld filler materials. |  |  |  | AISC 360, Section A3.5 |  | 1704.3
5. | Inspection of welding: | [5 empty] | 1704.3
| a. | Structural steel | X | X | AWS D1.1, D1.3 |  | 1704.3, 1704.3.1
| b. | Reinforcing steel | X | X | AWS D1.4; ACI 318: 3.5.2 |  | 1704.3
6. | Inspection of steel frame joint details. |  |  | X |  |  | 1704.3, 1704.3.2
B. | Concrete Construction
1. | Inspection of reinforcing steel, including prestressing tendons, and placement. |  |  | X | ACI 318: 3.5, 7.1-7.7 |  | 1704.4, 1913.4
2. | Inspection of reinforcing steel welding. |  |  |  | AWS D1.4; ACI 318: 3.5.2 |  | 1704.4
FP-SSI 010/2011 | [9 empty] | page 2 of 5
INSPECTION AND TESTING (Continuous & Periodic is as Defined by the BCNYS) |  |  | CONTINUOUS | PERIODIC | REFERENCE STANDARD |  | BCNYS REFERENCE | CHECK IF REQUIRED | IDENTIFY SPEC SECTION AND PROVIDE CLARIFYING NOTES IF NECESSARY
3. | Inspection of bolts to be installed in concrete prior to and during placement. |  | X |  |  |  | 1704.4
4. | Verify use of required design mix. |  |  | X | ACI 318: Ch. 4, 5.2-5.4 |  | 1704.4, 1904.2.2, 1913.2, 1913.3
5. | Sampling fresh concrete: slump, air content, temperature, strength test specimens. |  | X |  | ASTM C 172, C 31; ACI 318: 5.6, 5.8 |  | 1704.4, 1913.10
6. | Inspection of placement for proper application techniques. |  | X |  | ACI, 318: 5.9, 5.10 |  | 1704.4, 1913.6, 1913.7, 1913.8
7. | Inspection for maintenance of specified curing temperature and techniques. |  |  | X | ACI, 318: 5.11 - 5.13 |  | 1704.4, 1913.9
8. | Inspection of prestressed concrete. |  | X |  | ACI 318: 18.18.4, 18.20 |  | 1704.4
9. | Erection of precast concrete members. |  |  | X | ACI 318: Ch. 16 |  | 1704.4
10. | Verification of in-situ concrete strength prior to stressing of tendons and prior to removal of shores and forms from beams and slabs. |  |  | X | ACI 318: 6.2 |  | 1704.4
11. | Inspection of formwork |  |  | X | ACI 318: 6.1.1
C. | Masonry Construction
| L1 = | Level 1 Inspection required for nonessential facilities. |  |  | ACI 530/ ASCE 5/TMS 402, Ch. 35 | ACI 530.1/ ASCE 6/TMS 602, Ch. 35
| L2 = | Level 2 Inspection required for essential facilities. In general, schools are not considered essential facilities unless they are a designated emergency shelter |  |  | ACI 530/ ASCE 5/TMS 402, Ch. 35 | ACI 530.1/ ASCE 6/TMS 602, Ch. 35
FP-SSI 010/2011 | [9 empty] | page 3 of 5
INSPECTION AND TESTING (Continuous & Periodic is as Defined by the BCNYS) |  |  | CONTINUOUS | PERIODIC | REFERENCE STANDARD |  | BCNYS REFERENCE | CHECK IF REQUIRED | IDENTIFY SPEC SECTION AND PROVIDE CLARIFYING NOTES IF NECESSARY
1. | Verify to ensure compliance:
| a. | Proportions of site prepared mortar and grout. |  | L1 & L2 |  | 2.6A | 1704.5
| b. | Placement of masonry units and construction of mortar joints. |  | L1 & L2 |  | 3.3B | 1704.5
| c. | Location and placement of reinforcement, connectors, tendons, anchorages. |  | L1 |  | 3.4, 3.6A | 1704.5
|  |  |  | L2 | Sec. 1.13 | 3.4, 3.6A | 1704.5
| d. | Prestressing technique. |  | L1 |  | 3.6B | 1704.5
|  | Grout space prior to grouting. | L2 |  |  | 3.2D | 1704.5
| e. | Grade and size of prestressing tendons and anchorages. |  | L1 |  | 2.4B, 2.4H | 1704.5
|  | Placement of grout. | L2 |  |  | 3.5 | 1704.5
| f. | Grout specs prior to grouting. | L2 |  |  | 3.6 C | 1704.5
2. | Inspection program shall verify:
| a. | Size and location of structural elements. |  | L1 & L2 |  | 3.3G | 1704.5
| b. | Type, size, and location of anchors. | L2 | L1 | Sec. 1.2.2(e), 2.1.4, 3.1.6 |  | 1704.5
| c. | Specified size, grade, and type of reinforcement. |  | L1 & L2 | Sec. 1.13 | 2.4, 3.4 | 1704.5
| d. | Welding of reinforcing bars. | L1 & L2 |  | 2.1.7.10.2, 3.3.3.4(b) |  | 1704.5
| e. | Cold/hot weather protection of masonry construction. |  | L1 & L2 |  | 1.8C, 1.8D | 1704.5, 2104.3, 2104.4
| f. | Prestressing force measurement and application. | L2 | L1 |  | 3.6B | 1704.5
3. | Verification prior to grouting. |  |  | L1 | 1.13 | 3.2D, 3.4, 2.6B, 3.3B | 1704.5
|  |  | L2 |  |  | 1.4 | 1704.5, 2105.2.2, 2105.3
4. | Grout placement. |  | L1 |  |  | 3.5, 3.6C | 1704.5
FP-SSI 010/2011 | [9 empty] | page 4 of 5
INSPECTION AND TESTING (Continuous & Periodic is as Defined by the BCNYS) |  |  | CONTINUOUS | PERIODIC | REFERENCE STANDARD |  | BCNYS REFERENCE | CHECK IF REQUIRED | IDENTIFY SPEC SECTION AND PROVIDE CLARIFYING NOTES IF NECESSARY
5. | Preparation of grout specimens, mortar specimens, and/or prisms. |  | L1 & L2 |  |  | 1.4 | 1704.5, 2105.2.2, 2105.3
6. | Compliance with documents and submittals. |  |  | L1 & L2 |  | 1.5 | 1704.5
D. | Wood Construction
1. | Fabrication process of prefabricated wood structural elements and assemblies. | [5 empty] | 1704.6, 1704.2
2. | High-load diaphrams designed in accordance with Table 2306.3.2 | [5 empty] | 1704.6.1, 1704.1
E. | Soils | [5 empty] | 1704.7
F. | Pile Foundations | [5 empty] | 1704.8
G. | Pier Foundations | [5 empty] | 1704.9
H. | Sprayed Fire-Resistant Materials
1. | Structural member surface conditions. | [5 empty] | 1704.10.1
2. | Application. | [5 empty] | 1704.10.2
3. | Thickness. |  |  |  | ASTM E 605 |  | 1704.10.3
4. | Density. |  |  |  | ASTM E 605 |  | 1704.10.4
5. | Bond strength. |  |  |  | ASTM E 736 |  | 1704.10.5
I. | Mastic and Intumescent Fire-Resistant Coatings | [5 empty] | 1704.11
J. | Exterior Insulation and Finish Systems (EIFS) | [5 empty] | 1704.12
K. | Special Cases | [5 empty] | 1704.13
L. | Smoke Control | [5 empty] | 1704.14
M. | Special Inspections for Seismic Resistance
1. | Structural steel. |  | X |  | AISC 341 |  | 1707.2
2. | Structural wood. |  | X |  |  |  | 1707.3
3. | Cold-formed steel framing. |  |  | X |  |  | 1707.4
4. | Pier Foundations. |  |  | X |  |  | 1707.5
5. | Storage racks and access floors. |  |  | X |  |  | 1707.6
FP-SSI 010/2011 | [9 empty] | page 5 of 5
INSPECTION AND TESTING (Continuous & Periodic is as Defined by the BCNYS) |  |  | CONTINUOUS | PERIODIC | REFERENCE STANDARD |  | BCNYS REFERENCE | CHECK IF REQUIRED | IDENTIFY SPEC SECTION AND PROVIDE CLARIFYING NOTES IF NECESSARY
6. | Architectural components. |  |  | X |  |  | 1707.7
7. | Mechanical and electrical components. |  |  | X |  |  | 1707.8
8. | Designated seismic system verifications | [5 empty] | 1707.9
9. | Seismic isolation system. |  |  | X |  |  | 1707.10
N. | Structural Testing for Seismic Resistance
1. | Testing and verification of masonry materials and assemblies prior to construction. | [5 empty] | 1708.1
2. | Testing for seismic resistance. | [5 empty] | 1708.2
3. | Reinforcing and prestressing steel. |  |  |  | ACI 318 |  | 1708.3
4. | Structural steel. |  |  |  | AISC 341, AWS D1.1 |  | 1708.4
5. | Seismic qualification of mechanical and electrical equipment. | [5 empty] | 1708.5
6. | Seismically isolated structures. |  |  |  | Section 17.8 of ASCE 7 |  | 1708.6
O. | Structural Observations
1. | Seismic resistance. | [5 empty] | 1709.2
2. | Wind requirements. | [5 empty] | 1709.3
P. | Test Safe Load | [5 empty] | 1712
Q. | In-Situ Load Tests | [5 empty] | 1713
R. | Preconstruction Load Tests | [5 empty] | 1714
S. | Other (list)

## Cert. of Final Bldg. Plans
FP-CFP 01/2013 | [18 empty] | page 1 of 1
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
CERTIFICATION OF FINAL BUILDING PLANS
for
|  |  |  | Project Control No.: |  |  |  | - | - |  | - |  | - |  | - |  |  | -
Name of SD/BOCES: | [10 empty] | Name of Superintendent:
PRINT
Building Name: | [10 empty] | Name of Board President:
PRINT
Date Submitted to Facilities Planning: | [10 empty] | Project Manager:
|  |  |  | Type of Project: |  |  | Addition |  |  | New Building | [5 empty] | Manufactured Building
Additions or New Buildings to be Occupied by Students:
We hereby certify that there are no material changes to the final floor plans that would increase or decrease the assigned Building Aid Units as determined by the Project Manager in the Office of Facilities Planning during the preliminary review; OR
We certify that the following material changes were made to these final floor plans that might increase or decrease the assigned Building Aid Units determined by the Project Manager in the Office of Facilities Planning during the preliminary review:
1.
2.
3.
4.
5.
(If additional space is needed, please use the back of this form)
| Yes |  | No |  | We hereby certify that the addition is being constructed for use by the students attending classes at this site. (EXAMPLE: If you are building a gymnasium at an elementary school, which is to be used by high school students, the answer to this question would be “No.”)
Manufactured Buildings on School District Property:
| Yes |  | No |  | This modular addition or stand-alone modular structure is not part of a “lease” or “option to buy” transaction.
|  |  | SIGNATURE OF SUPERINTENDENT | [8 empty] | SIGNATURE OF ARCHITECT OR ENGINEER
[5 empty] | DATE | [8 empty] | DATE

## Applic for Apportionment
FP-AP 03/2013 | [24 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
APPLICATION FOR APPORTIONMENT OF BUILDING AID
Education Law, Section 3602(14)(a)
INSTRUCTIONS
Submit a copy of the FP-F form (Application for Examination and Approval of Final Plans and
Specifications) -or- Certificate of Approval -or- SA-4 (Notification of Building Projects).
| 1. | DISTRICT INFORMATION
School District Name:
| Superintendent: | [19 empty] | Telephone:
Email:
Supervisory District:
| 2. | PROJECT INFORMATION
|  | a. | Project Number: |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | b. | Building Name: |  |  |  |  | 0
|  | c. | Total Project Cost:
|  | d. | This project consists of: | [7 empty] | (Check all that apply)
|  | new building | [7 empty] | addition | [8 empty] | alteration
|  | e. | Description of project for which application is submitted:
(Use additional sheets if necessary. Label each additional sheet 2e.)
| 3. | PROJECT JUSTIFICATION | [10 empty] | [Section 3602, paragraph14(a)(2)]
|  | a. | If this application is based on “inadequacy or obsolescence of present facilities”,
explain. (Use additional sheets if necessary. Label each additional sheet 3a.)
FP-AP 03/2013 | [24 empty] | page 2 of 2
|  | b. | Explain a) how this project would be capable of substantial educational use by the reorganized district in case the reorganization under the existing plan of reorganization is effected, AND b) how this project will provide more efficient and more economical facilities in the reorganized school district. (Use additional sheets if necessary. Label each additional sheet 3b.)
| 4. | REORGANIZATION INFORMATION
|  | a. | List district(s) included in proposed combination for reorganization:
|  | b. | Has there been any formal study or planning relative to reorganization with the district(s)
|  |  | listed above or any other districts? | [9 empty] | Yes | [7 empty] | No
EXPLAIN
|  |  | Signature, President Board of Education | [20 empty] | Date
|  |  | Signature, Superintendent of Schools | [20 empty] | Date
FOR REORGANIZATION GROUP #1 ONLY (click here for list):
If your district is categorized Group #1 for reorganization, your BOCES Distrist Superintendent must sign below to certify the following:
|  |  |  | i) |  | I am aware the District is categorized Group #1 for reorganization; AND
|  |  |  | ii) |  | I am aware of the scope of work for the above-referenced project(s); AND
|  |  |  | iii) |  | In the event of a merger between the District and a neighboring District, it is anticipated the building(s) impacted by the project(s) will remain in use.
[6 empty] | Signature, BOCES District Superintendent | [16 empty] | Date
FOR SED USE ONLY:
Reorg Class
Approval:
[8 empty] | Signature | [14 empty] | Date
Note on C83: GROUP #1: ARKPORT CANASERAGA CORINTH DOBBS FERRY GENERAL BROWN GLENS FALLS GLENS FALLS COMMON HADLEY LUZERNE HASTINGS-ON-HUDSON KATONAH-LEWISBORO LYME MIDDLEBURGH NORTH SALEM PAVILION RAMAPO SCHOHARIE TUXEDO WYOMING

## Partial Certif of Subst Compl
FP-PCSC 04/2012 | [22 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
PARTIAL CERTIFICATION OF SUBSTANTIAL COMPLETION
A school district capital construction project approved by the Commissioner of Education shall be constructed in accordance with plans and specifications which incorporate applicable provisions of the New York State Uniform Fire Prevention and Building Code., the Energy Conservation Construction Code of New York State, and Education Department construction standards.
At the time of Partial Substantial Completion of a project, the architect or engineer shall execute three (3) copies of this form. Distribution: Office of Facilities Planning, School District, Architect or Engineer.
|  | 1. | Name of District : | [5 empty] | 0
|  | 2. | County of District:
|  | 3. | Name of Building: | [5 empty] | 0
|  | 4. | Facilities Planning Project Control Number:
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Project Control Number | [14 empty] | Review Number |  |  | Approval Date
I, the undersigned [Architect] [Engineer] certify on the basis of an inspection | [21 empty] | [date] that work
performed on this project, except portions thereof designated below, has been reviewed and found to be substantially
complete, and that the Date of Partial Substantial Completion of the Project, as defined below, is | [22 empty] | .
Definition: Date of Partial Substantial Completion of the project, is the date certified by the Architect or Engineer when portions of the construction are Code compliant and substantially complete in accordance with the Contract Documents so the school district can occupy or utilize those portions of the project, for their intended use.
Signature
[Architect] [Engineer]
Firm
Address
Seal of Architect or Engineer
[12 empty] | Date | [6 empty] | Phone
Use space below to designate specific portions which are NOT included in the certification. Submit subsequent certification when these portions are substantially complete.
FP-PCSC 04/2012 | [22 empty] | page 2 of 2
Certifications by Architect or Engineer:
The undersigned Architect or Engineer makes the following certifications:
|  | 1. | This public works project has been supervised pursuant to Subdivision 3 of Section 7209 of the Education Law and pursuant to contract with the school district for professional services.
|  | 2. | Construction inspections pursuant to 19NYCRR Section 1203.3(b) and Section 1704, Special Inspections, of the Building Code of NYS have been performed on this project. Records for each individual inspection and a complete report of all individual inspections have been delivered to the school district.
|  | 3. | Pursuant to the Energy Conservation Construction Code of New York State, all required HVAC tests, system balancing, commissioning, etc., have been performed and that, in the professional opinion of the registered design professional, the system is operating as designed.
| Date | [12 empty] | Signature
[18 empty] | Architect |  |  | Engineer
(Select appropriate designation.)
Assurances of Superintendent of Schools:
The undersigned superintendent of schools makes the following assurances:
|  | 1. | In the case of the project having a Clerk of the Works, the Clerk of the Works
|  |  | (name) | [11 empty] | , | has properly monitored the project pursuant to
contract with the school district for services.
|  | 2. | In the case of the project having a Construction Manager, the Construction Manager
|  |  | (name) | [11 empty] | , | has properly monitored the project pursuant to
contract with the school district for services.
|  | 3. | In the case of a new building or addition, the need of a Certificate of Occupancy prior to occupancy or use is acknowledged.
|  | 4. | If none of the above are applicable, click here
| Date | [12 empty] | Signature
Note on J11: Enter the name of the School District.
Note on J12: Enter the county of the School District.
Note on J13: Enter the name of the building.
Note on D14: Enter your Project Control Number below (one number per box). Use the Tab key to move between boxes.
Note on V19: Enter the date numerically in mo./day/yr. format.
Note on P24: Signature of the Architect or Engineer.
Note on I25: Affix seal of Architect or Engineer.
Note on P27: Enter the A/E firm name.
Note on P30: Enter the A/E firm's address.
Note on P33: Enter the A/E firm's address.
Note on P35: Enter the date numerically in mo./day/yr. format.
Note on AA35: Enter the A/E firm phone number.
Note on E61: Enter the date numerically in mo./day/yr. format.
Note on S61: Signature of the Architect or Engineer.
Note on X62: Click on the box to check.
Note on G70: Enter the name of the clerk of the works.
Note on G74: Enter the name of the construction management firm.
Note on R80: Click on the box to check.
Note on E82: Enter the date numerically in mo./day/yr. format.
Note on S82: Signature of the Superintendent of Schools.
Note on AA21: Enter the date numerically in mo./day/yr. format.

## Final Certif of Subst Compl
FP-FCSC 04/2012 | [23 empty] | page 1 of 2
THE STATE EDUCATION DEPARTMENT / THE UNIVERSITY OF THE STATE OF NEW YORK
Office of Facilities Planning, 89 Washington Avenue, Room 1060 Education Building Annex, Albany, NY 12234
Tel. (518) 474-3906
Tel. (518) 474-3906
www.p12.nysed.gov/facplan/
FINAL CERTIFICATION OF SUBSTANTIAL COMPLETION
A school district capital construction project approved by the Commissioner of Education shall be constructed in accordance with plans and specifications which incorporate applicable provisions of the New York State Uniform Fire Prevention and Building Code., the Energy Conservation Construction Code of New York State, and Education Department construction standards.
At the time of Final Substantial Completion of a project, the architect or engineer shall execute three (3) copies of this form. Distribution: Office of Facilities Planning, School District, Architect or Engineer.
|  | 1. | Name of District : | [5 empty] | 0
|  | 2. | County of District:
|  | 3. | Name of Building: | [5 empty] | 0
|  | 4. | Facilities Planning Project Control Number:
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Project Control Number | [14 empty] | Review Number |  |  |  | Approval Date
I, the undersigned [Architect] [Engineer] certify on the basis of an inspection | [22 empty] | [date] that work
performed on this project, has been reviewed and found to be substantially complete, and that the Date of
Substantial Completion of the Project, as defined below, is | [19 empty] | . |  |  |  | .
Definition: Date of Substantial Completion of the project, is the date certified by the Architect or Engineer when the construction is Code compliant and substantially complete in accordance with the Contract Documents so the school district can occupy or utilize the project for its intended use.
Signature
[Architect] [Engineer]
Firm
Address
Seal of Architect or Engineer
[12 empty] | Date | [6 empty] | Phone
FP-FCSC 04/2012 | [23 empty] | page 2 of 2
Certifications by Architect or Engineer:
The undersigned Architect or Engineer makes the following certifications:
|  | 1. | This public works project has been supervised pursuant to Subdivision 3 of Section 7209 of the Education Law and pursuant to contract with the school district for professional services.
|  | 2. | Construction inspections pursuant to 19NYCRR Section 1203.3(b) and Section 1704, Special Inspections, of the Building Code of NYS have been performed on this project. Records for each individual inspection and a complete report of all individual inspections have been delivered to the school district.
|  | 3. | Pursuant to the Energy Conservation Construction Code of New York State, all required HVAC tests, system balancing, commissioning, etc., have been performed and that, in the professional opinion of the registered design professional, the system is operating as designed.
| Date | [12 empty] | Signature
[18 empty] | Architect |  |  |  | Engineer
(Select appropriate designation.)
Assurances of Superintendent of Schools:
The undersigned superintendent of schools makes the following assurances:
|  | 1. | In the case of the project having a Clerk of the Works, the Clerk of the Works
|  |  | (name) | [11 empty] | , | has properly monitored the project pursuant to
contract with the school district for services.
|  | 2. | In the case of the project having a Construction Manager, the Construction Manager
|  |  | (name) | [11 empty] | , | has properly monitored the project pursuant to
contract with the school district for services.
|  | 3. | In the case of a new building or addition, the need of a Certificate of Occupancy prior to occupancy or use is acknowledged.
|  | 4. | If none of the above are applicable, click here
| Date | [12 empty] | Signature
Note on J11: Enter the name of the School District.
Note on J12: Enter the county of the School District.
Note on J13: Enter the name of the building.
Note on D14: Enter your Project Control Number below (one number per box). Use the Tab key to move between boxes.
Note on V19: Enter the date numerically in mo./day/yr. format.
Note on P24: Signature of the Architect or Engineer.
Note on I25: Affix seal of Architect or Engineer.
Note on P27: Enter the A/E firm name.
Note on P30: Enter the A/E firm's address.
Note on P33: Enter the A/E firm's address.
Note on P35: Enter the date numerically in mo./day/yr. format.
Note on AA35: Enter the A/E firm phone number.
Note on E61: Enter the date numerically in mo./day/yr. format.
Note on S61: Signature of the Architect or Engineer.
Note on X62: Click on the box to check.
Note on G70: Enter the name of the clerk of the works.
Note on G74: Enter the name of the construction management firm.
Note on R80: Click on the box to check.
Note on E82: Enter the date numerically in mo./day/yr. format.
Note on S82: Signature of the Superintendent of Schools.
Note on Q21: Enter the date numerically in mo./day/yr. format.