The University of the State of New York

THE STATE EDUCATION DEPARTMENT

Office of Facilities Planning

Fire Safety Unit

Room 1060  EBA

### Albany, NY   12234

# NON-PUBLIC SCHOOL FIRE SAFETY REPORT

All student use buildings which are owned, operated, or leased by nonpublic schools, shall be inspected annually for compliance with applicable parts of  NYCRR155.25 Regulations of the Commissioner of Education (Section 8 of report only if applicable), and for compliance with the New York State Uniform Fire Prevention and Building Code (NYSUFPBC).

School Name  ______________________________________________________________________________

Facility/Building Name

Street Address

City/Town/Village			 	          						Zip Code

Municipality Responsible for Local Code Enforcement _____________________________________________

# INSTRUCTIONS

- Read the “Manual for Fire and Building Safety Inspections in Public and Non-Public Schools” before inspecting the facility and complete a separate report for each facility.

- Part I General Information.  School officials must complete this portion annually.

- Part II This portion to be completed by the inspector and non-conformances recorded on page 4, Non-Public School Fire Safety Non-Conformance Reporting Sheet.

- Part II-B Regulations of the Commissioner 155.25. This part to be completed for all buildings with electrically operated partitions. (Question 8, Non-Conformance Reporting Sheet) Fire Code and Property Maintenance Code of New York State. This part to be completed for all buildings. (Questions 9-26, Non-Conformance Reporting Sheet)

- Part III Certifications.  To be completed by persons as indicated.

- This form must be kept on file at the school for three years and must be available for public review.

- Filing the Report: The final submission package includes a total of five pages.  After inspection, sign the Certifications page (Part III, p.5), staple the pages together, and mail to: Office of Facilities Planning, Fire Safety Unit, Room 1060 EBA, Albany, NY  12234.  Make a school administration file copy, and provide copies to the inspector, local fire chief, and the agency responsible for local code enforcement.

- Annual inspection period for nonpublic schools is September 1 to December 1.  All reports are due December 16.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 2 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| School District Code Facility Code Zone |

Part I – General Information

(To be completed by school official annually)

# Facility Profile

1.  Indicate the primary use of this facility

| a. Instruction of students |  | (0) |  | f. Bus maintenance w/ or w/o storage . . . . . . |  | (5) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| b. Administration |  | (1) |  | g. Public Library . . . . . . . . . . . . . . . . . . . . . |  | (6) |  |
| c. Storage |  | (2) |  | h. Other (specify) (7) |  |
| d. Maintenance |  | (3) |  | i. Leased instructional |  | (8) |  |
| e. Bus storage, only |  | (4) |  | j. Vacant |  | (9) |  |

2.  If this facility is not used for instruction, go to question 3.

a.  Indicate grades housed in this facility 				   ____________________

| b. Number of teaching stations in this facility |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| c. Number of students in this facility |  |  |  |  |  |  |
| d. Number of staff in this facility |  |  |  |  |  |  |

| Indicate ownership status of this facility: Owned Leased Other Specify _________________________ If leased, specify leasee ___________________________________________________ |  |
| --- | --- |

Enter the name and full mailing address of the fire department which affords protection to this facility. Name ______________________________________________________________________________________ Address ____________________________________________________________________________________ City ___________________________________________________________________ Zip Code ____________

- Indicate the fire department organizational status by checking the appropriate box:

Manned full-time 		         			Unmanned (volunteer)

Manned and unmanned 		         			Unmanned part-time

PART I – GENERAL INFORMATION ( continued

(To be completed by School Official)

FIRE/LIFE SAFETY HISTORY

6.     If this facility is used for instruction, complete (a) ( (d); otherwise go to question 7.

| Yes No |
| --- |
| Fire drills were held in accordance with section 807 of the Education Law and F405 and F408 of the Fire Code of New York State |  |
| Average time to evacuate facility was: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Minutes     and     Seconds

| Arson and fire prevention instruction was provided in accordance with section 808 of the Education Law (revised 9/1/05) which requires every school in New York State to provide a minimum of 45 minutes of instruction in arson, fire prevention, injury prevention, and life safety for each month school is in session. Rev. 7/1/07 |  |
| --- | --- |
| Employee fire prevention, evacuation, and fire safety training was provided, and records maintained, in accordance with Section F406 of the New York State Fire Code. |  |  |  |  |  |  |  |  |  |  |  |  |  |

| 7. Have there been any fires in this facility since the last annual fire inspection report? |  |
| --- | --- |

| a. If yes, indicate: |  |  |  |  |
| --- | --- | --- | --- | --- |
| (1) Number of fires |  |  | (a1) |  |
| (2) Total number of injuries |  |  | (a2) |  |
| (3) Total cost of property damage |  |  |  | , |  |  |  | , |  |  |  | (a3) |
|  | Yes No |
| (4) Was the fire department notified of all fires? |  |  |  |  |  |  |  |  |  | (a4) |
| 8. If the fire alarm system was activated, was the fire department immediately notified? |  |  |  |

REVISED 01/2012

| PART II - NON-PUBLIC SCHOOL FIRE SAFETY NON-CONFORMANCE REPORTING SHEET |
| --- |
| Non-Public School _________________________________ Building Name ___________________________ |  |
| Project # ______________________________ Facility Code # ___________________________ |  |
|  | (building projects only) |  |  |  |  |  |  |  |  |  |  |  |  |
| If there are no nonconformances, check here | Building is NOT used for any student instruction |  |
| Item # | Non-conformance | Date Corrected | Date Reinspected |  | Item # | Non-conformance | Date Corrected | Date Reinspected |  | Item # | Non-conformance | Date Corrected | Date Reinspected |  |  |  |  |  |
| PART II - B |  | PART II - B |  | PART II - B |  |  |  |  |  |
|  |  |  |  |  | 12K-1 |  |  |  |  | 18D-2 |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 12L-1 |  |  |  |  | 19A-3 |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 12M-1 |  |  |  |  | 19B-2 |  |  |  |  |  |  |  |  |
| 08A-2 |  |  |  |  | 12N-1 |  |  |  |  | 19C-1 |  |  |  |  |  |  |  |  |
| 08B-2 |  |  |  |  | 12O-2 |  |  |  |  | 19D-1 |  |  |  |  |  |  |  |  |
| 08C-2 |  |  |  |  | 13A-2 |  |  |  |  | 19E-1 |  |  |  |  |  |  |  |  |
| 08D-2 |  |  |  |  | 13B-2 |  |  |  |  | 19F-1 |  |  |  |  |  |  |  |  |
| 08E-2 |  |  |  |  | 14A-2 |  |  |  |  | 19G-1 |  |  |  |  |  |  |  |  |
| 09A-2 |  |  |  |  | 14B-2 |  |  |  |  | 19H-2 |  |  |  |  |  |  |  |  |
| 09B-2 |  |  |  |  | 14C-2 |  |  |  |  | 20A-1 |  |  |  |  |  |
| 09C-1 |  |  |  |  | 14D-1 |  |  |  |  | 20B-1 |  |  |  |  |  |
| 09D-1 |  |  |  |  | 14E-1 |  |  |  |  | 20C-1 |  |  |  |  |  |  |  |  |
| 09E-1 |  |  |  |  | 15A-2 |  |  |  |  | 21A-3 |  |  |  |  |  |  |  |  |
| 09F-2 |  |  |  |  | 15B-1 |  |  |  |  | 22A-3 |  |  |  |  |  |  |  |  |
| 09G-2 |  |  |  |  | 15C-2 |  |  |  |  | 22B-3 |  |  |  |  |  |  |  |  |
| 10A-2 |  |  |  |  | 15D-2 |  |  |  |  | 22C-3 |  |  |  |  | Notes: |  |  |  |
| 10B-2 |  |  |  |  | 16A-2 |  |  |  |  | 23A-1 |  |  |  |  |  |  |  |  |
| 10C-1 |  |  |  |  | 16B-2 |  |  |  |  | 23B-1 |  |  |  |  |  |  |  |  |
| 10D-1 |  |  |  |  | 16C-2 |  |  |  |  | 23C-1 |  |  |  |  |  |  |  |  |
| 11A-2 |  |  |  |  | 17A-3 |  |  |  |  | 23D-2 |  |  |  |  |  |  |  |  |
| 11B-1 |  |  |  |  | 17B-2 |  |  |  |  | 24A-3 |  |  |  |  |  |  |  |  |
| 11C-2 |  |  |  |  | 17C-2 |  |  |  |  | 25A-3 |  |  |  |  |  |
| 11D-2 |  |  |  |  | 17D-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11E-1 |  |  |  |  | 17E-1 |  |  |  |  |  |  |  |  |  |  |
| 12A-1 |  |  |  |  | 17F-3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12B-3 |  |  |  |  | 17G-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12C-2 |  |  |  |  | 17H-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12D-2 |  |  |  |  | 17I-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12E-1 |  |  |  |  | 17J-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12F-1 |  |  |  |  | 17K-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12G-1 |  |  |  |  | 17L-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12H-1 |  |  |  |  | 18A-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12I-1 |  |  |  |  | 18B-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12J-1 |  |  |  |  | 18C-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item 9E-1 deleted – not required by NYS Fire Code |  |  |  |  |  |  |  |  |  |  |
| All schools complete Section 8 only if building has electrically operated folding partitions. All schools complete sections 9-26. |
| Initial Inspection: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire Safety Inspector: Name ________________________________ Signature______________________________ | (26-E-4) |
|  |  | Date _______________ Registry No.: ___________________________ | (26-F-4) |
| Final Inspection (if required): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire Safety Inspector: Name_________________________________ Signature______________________________ | (26-G-4) |
|  |  | Date_______________ Registry No.:___________________________ | (26-H-4) |

PART III  -- CERTIFICATIONS

Appropriate section to be completed and signed by each person as identified below.

###### Section III-A.  Local Municipal Code Enforcement Official

This inspector shall enter below the name, full business mailing address and phone number of the local municipal code enforcement official having jurisdiction over this facility.

Name:  ___________________________________________________________________________________________

Address:  __________________________________________________________________________________________

City/State ______________________________________________________________ Zip Code ___________________

(26A-4)

###### Section III-B.	Fire Safety Inspector

I hereby certify that I inspected this building on 			(date) and the information noted in this Fire Safety Report represents, to the best of my knowledge and belief, an accurate description of the building and conditions observed.

Name:      						      Telephone No.:   (_____)______________	                (Please Print)						        (Include Area Code)

Title:

Address:  							      Signature:      ________________________ (26B-4)

____________________________________________

Zip Code

###### Section III-C.	Building Administrator, or Designee

I hereby certify that this building was inspected 			(date) as indicated in Section A above.

Name:  	 							       Telephone No.:   (____)_____________

(Please Print)							  (Include Area Code)

Title:	 _____________________________________________

Address:

_____________________________________________       Signature:   _______________________ (26C-4)

Zip Code

# Text boxes

Revised 01/2012

Inspector:
I have received a copy of 
the previous year's school fire safety report:

Yes         No

If any additional nonconformances are observed, check item 25A-3 and list Code section in notes section below.   Attach additional sheets if necessary.